## Summary Log
Summary of changes to PAF Risk Register from Version 2017.02 to 2018.01
Area | Change | Date
Read Me First | Amended "Publication Date" and "Version Number" to latest version | 2018-10-09
| Removed wording "Further refinement of the PAF Risk Register will be completed following the 12 December 2017 PAC meeting." | 2018-10-09
Risk Summary | Added risks PACR016, PACR017 and PACR018 to the Risk Summary table | 2018-10-09
PACR001 | Approved title rewording "Theft of Gas: The consumption recorded at and by the meter does not record the actual consumption at the premise because of theft of gas at that premise." Theft of Gas will lead to the inaccurate identification of gas consumed from an end user and impact the level of Unidentified Gas across settlement Approved description rewording "Some energy being consumed at a premise is not being recorded due to theft leading to a higher level of unidentified gas in settlements." The energy consumed at a Shipper's site will not be accounted for and be incorporated into unidentified gas | 2018-10-09
PACR002 | Approved title rewording "AQ Correction Process: The process to correct AQ’s is not used correctly or appropriately thereby applying a bias to the AQ corrections which is not reflective of the AQ corrections needed in any shipper’s portfolio". Misunderstanding and misuse of the AQ correction process will cause a miscalculation of energy Approved description rewording "Shippers do not apply AQ corrections in a fair and consistent way thereby introducing a bias, ultimately leading to inaccurate levels of unidentified gas in settlements". Inaccurately calculated AQs will cause a misallocation of energy and the AQ correction process will not be used in a fair and consistent way | 2018-10-09
PACR003 | Approved title rewording "Use of estimated reads for Daily Metered sites (Product Class 1 and 2) due to an actual daily reading not being loaded onto UKLink". The use of estimated reads for Daily Metered sites (Product Class 1 and 2) will lead to inaccurate energy calculation Approved description rewording "The algorithm used to determine the estimated consumption for a DM Site does not reflect the actual consumption at that site leading to inaccurate allocation and settlement". Where estimated reads are used in Product Classes 1 and 2 after D+5, Gas is allocated and reconciled incorrectly | 2018-10-09
PACR004 | Approved title rewording "Identified LDZ Offtake measurement errors: The gas measured into the network has been identified as being incorrect". Identified LDZ Offtake measurement errors lead to incorrectly measured allocated gas within the LDZ Approved description rewording "The gas being measured into the network is incorrect impacting allocation and shrinkage calculations." Offtake meters develop errors and produces inaccurate readings leading to inaccurate allocation of gas in an LDZ | 2018-10-09
PACR005 | Approved title rewording "Incorrect or absent meter asset data: Consumptions are inaccurately derived from the meter billing attributes provided. The use of incorrect asset data or missing asset data on the Supply Point Register leads to delays in and/or missing reconciliation Approved description rewording "The billing attributes of a meter are incorrectly recorded or missing leading to incorrect or no consumptions being derived from meter readings, impacting reconciliations and therefore settlement accuracy." The billing attributes of a meter and gas consumption are incorrectly recorded or missing | 2018-10-09
PACR006 | Approved title rewording "Site-specific winter annual ratio (WAR) bands: Site-specific WAR bands are not available for End User Category (EUC) 03-08 sites". There is a risk to accurate daily settlement of meter points that do not having a site-specific winter annual ratio (WAR) band for End User Category (EUC) 03-08 Approved description rewording "For daily settlement sites, a site-specific WAR band is not available from which more accurate profiles can be derived, leading to more accurate allocation and settlement." The daily settlement of meter points that do not have a site-specific WAR will be inaccurate | 2018-10-09
PACR007 | Approved title rewording "Undetected LDZ Offtake measurement errors: The gas measured into the network is incorrect and remains undetected available for End User Category (EUC) 03-08 sites" Previous wording "Undetected LDZ Offtake measurement errors leading to shrinkage and unidentified gas remain permanently inaccurate" Approved description rewording "The gas being measured into the network is incorrect due to a measurement error impacting settlement, the levels of unidentified gas and shrinkage, which remains whilst the error is undetected" Previous wording "LDZ offtake meters develop an error and remain undetected and produces undetected inaccurate readings leading to inaccurate allocation of gas in an LDZ" | 2018-10-09
PACR008 | Approved title rewording "Unregistered Supply Points: The supply point is not registered, but is consuming gas." MPRNs are being created and remain Unregistered by not being registered on the Supply Point Register whilst consuming gas Approved description rewording "No shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas" An unregistered meter begins consuming gas and adversely impacts the accuracy to Settlement | 2018-10-09
PACR009 | Approved title rewording "Shipperless Supply Points: The supply point exists on the Supply Point Register with no registered Shipper whilst consuming gas" MPRNs exist within the Supply Point Register with no registered Shipper whilst consuming gas Approved description rewording "No shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas" The accuracy of settlement where a Shipperless site is either still consuming gas or begins to consume at a future date without the Supply Point being reregistered | 2018-10-09
PACR010 | Approved title rewording "Meter readings fail validation (product classes 3 and 4): Insufficient reads are loading into UKLink eroding the accuracy of the AQ" Meter readings in Product Classes 3 and 4 are submitted and fail validation, and subsequent reads fail validation; the AQ will become less accurate impacting the timeliness of reconciliation Approved description rewording "Actual reads are either sent and fail validation or are not sent so that insufficient reads are provided to maintain the AQ accuracy leading to inaccurate allocation and settlement." In Product Classes 3 and 4 where accurate meter reads are rejected and inaccurate reads are accepted due to the mismanagement of the meter read validation process | 2018-10-09
PACR011 | Approved title rewording "Derived meter read drift: The consumption derived from automatic reads is not reflective of the actual consumption recorded on the meter and this is not identified". Where check reads are not completed, there is a risk that meters are under or over reading for an extended period of time which will impact allocation accuracy Approved description rewording "Consumption drift is not identified because check reads are not obtained to identify the issue, leading to incorrect consumptions being used in settlement." Where check reads are not completed within timescales, sites that derive a read will drift and not be identified | 2018-10-09
PACR012 | Approved title rewording "Required meter read frequency for product 4 meters: The differing required frequency in meter read provision between product class 3 and 4 sites". Infrequent meter read submission of Product Class 4 meters will impact the frequency with which the AQ is recalculated and the number of times a site is individually reconciled Approved description rewording "The frequency of submission of meter readings for Product Class 4 meter points could adversely impact the accuracy of the derived AQ and consumption along with the frequency of reconciliation" The frequency of submission of meter readings for Product Class 4 meter points could adversely impact the accuracy of the derived AQ and consumption | 2018-10-09
PACR013 | Approved title rewording "Change of Shipper Reads: Estimated Change of Shipper reads are used and rather than actual reads, creating inaccurate reconciliation to the shippers involved." The risk to allocation is created by estimated Change of Shipper reads being used and not replaced by actual reads creating incorrect periods of reconciliation Approved description rewording "The opening and closing periods of reconciliation are not accurately reflected for the two shippers when an actual read is not used impacting reconciliation accuracy." Estimated readings provided by the Transporter are used and not replaced with an actual reading are inaccurate and will create incorrect periods of reconciliation | 2018-10-09
PACR014 | Approved rewording "Meter readings not provided within the settlement window: Sites do not have any reads loaded in the settlement window". Failure to obtain a meter reading within the settlement window will lead to final allocation not reflecting true consumption Approved description rewording "Reconciliations will be crystallised based on estimated readings due to the failure to provide a meter reading within the settlement window, impacting settlement accuracy and unidentified gas." Some meter points do not obtain a read within the settlement window and reconciliation periods will crystallise not reflecting true consumption | 2018-10-09
PACR015 | Approved rewording "Retrospective updates: Application of an inconsistent approach by Shippers and the industry to retrospective updates" Inconsistent approach taken by Shippers to retrospective updates increases the risk of inaccurate reconciliation periods Approved description rewording "The application of an inconsistent approach to retrospective updates introduces a bias and therefore impacts settlement accuracy" The approach taken by shippers to retrospective updates increases the risk of inaccurate reconciliation periods | 2018-10-09
PACR016 | Approved rewording "Correction Factors (CF) – incorrect use of standard CF above 732,000 kWh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 732,000 kWh" Use of standard Correction Factors for a sites consuming above 732,000kWh Approved description rewording "The standard correction factor is used when a site-specific correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement" The calculation of gas consumption is incorrect for a site where site specific correction factor (>732,000 kWh) is mandatory under Thermal Regulations | 2018-10-09
PACR017 | Approved rewording "Correction Factors (CF) – use of a standard CF for sites consuming on or below 73,200kWh" The accuracy in use of a standard Correction Factor (1.02264) for sites consuming below 732,000 kWh Approved description rewording "Using a standard correction factor as required in the Thermal Energy Regulations introduces inaccuracy to settlements." There is a risk that across the scale, the use of standard correction factor (1.02264) for sites consuming below 732,000 kWh leads to incorrect attribution of energy | 2018-10-09
PACR018 | Approved wording "Correction Factors (CF) – incorrect use of standard CF below 732,000kwh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 73,200kWh and below 732,000kwh Approved description wording "The standard correction factor is used when a site-specific correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement" | 2018-10-09
PACR019D | New Risk relating to Smart Meter Exchanges added to PAF Risk Register. Risk description "There is a risk that the scale and number of smart meter installations in the short and medium term could have an impact on settlement." | 2018-10-09
PACR020D | Approved wording "There is a risk that the many post-implementation issues with UK Link leads to incorrect attribution of energy." Approved description wording "Such issues include many incorrectly calculated AQs, reconciliation amendments, UIG calculations and other data and processing issues that impact on volume calculations" | 2018-11-02

## Read Me First
PAF Risk Register
Publication Date | 2018-11-20
Version Number | 2018.03
Date Range | 2018-10-01 | to | 2019-09-30
Update History:
This version of the Risk Register reflects the contents following the completion of the PAF Risk Register Consultation and gained approval at the PAC meeting on 9 January 2018.
The PAF Risk Register sets out operational and financial risk to gas settlement. The PAF and subsequently the PAF Risk Register is limited to energy and supply points within Local Distribution Zones. It does not extend to energy transported through the National Transmission System and supply meter points connected to it.
The PAF Risk Register is currently baselined using a theoretical view of the identified risks from the initial work completed by a third party.
The PAF Risk Register is valid for the PAF year, 1 October 2018 to 30 September 2019 (2018/19).
Throughout the PAF year risks may remain in the same banding. Progress on those risks would still be made and captured within the Controls, Action and Tracker of the risk.
This document will include within-period revisions made at PAC meetings from 1 October 2018 to 30 September 2019.
For information on how risk scores are calculated and on how to raise a risk, please see the PAF Risk Register Guidance.
https://public.huddle.com/a/zDxRXgV/index.html
Additional information can also be found within the Risk Register Approach document (link below).
https://www.gasgovernance.co.uk/sites/default/files/ggf/page/2017-10/PAC%20Document%203%20Risk%20Register%20Approach%20v2.0.pdf

## Risk Summary
PAC Risk | Risk Title | Current Throughput (1-5) | Current Likelihood (1-5) | Current Control (Not Effective, Partially Effective, Effective) | Current Gross Risk Score | Current Net Risk Score | Current Allocation (£ '000) | Current Reconciliation (£ '000) | Current Allocation (GWh) | Current Reconciliation (GWh) | Target Throughput (1-5) | Target Likelihood (1-5) | Target Control (Not Effective, Partially Effective, Effective) | Target Gross Risk Score | Target Net Risk Score | Associated Risk | Risk Type | Risk Review Date
PACR001 | Theft of Gas: The consumption recorded at and by the meter does not record the actual consumption at the premise because of theft of gas at that premise | 5 | 5 | Not Effective (x1) | 25 | 25 | 42218 | 43046 | 2483 | 2532 | 5 | 4 | Partially Effective (x0.8) | 20 | 16 | - | Shipper Performance | Reviewed on 09/10/2018
PACR002 | AQ Correction Process: The process to correct AQ’s is not used correctly or appropriately thereby applying a bias to the AQ corrections which is not reflective of the AQ corrections needed in any shipper’s portfolio | 5 | 5 | Not Effective (x1) | 25 | 25 | 32218 | 32286 | 1895 | 1899 | 3 | 5 | Partially Effective (x0.8) | 15 | 12 | - | Shipper Performance | Reviewed on 09/10/2018
PACR003 | Use of estimated reads for Daily Metered sites (Product Class 1 and 2) due to an actual daily reading not being loaded onto UK Link | 5 | 4 | Not Effective (x1) | 20 | 20 | 23555 | 47 | 1386 | 3 | 5 | 3 | Partially Effective (x0.8) | 15 | 12 | - | Shipper Performance | Reviewed on 09/10/2018
PACR004 | Identified LDZ Offtake measurement errors: The gas measured into the network has been identified as being incorrect | 5 | 3 | Partially Effective (x0.8) | 15 | 12 | 21152 | - | 1244 | - | 4 | 3 | Partially Effective (x0.8) | 12 | 9.6 | PACR007 | Transporter Performance | Reviewed on 09/10/2018
PACR005 | Incorrect or absent meter asset data: Consumptions are inaccurately derived from the meter billing attributes provided | 4 | 4 | Not Effective (x1) | 16 | 16 | 13987 | 14073 | 823 | 828 | 4 | 4 | Partially Effective (x0.8) | 16 | 12.8 | - | Shipper Performance | Reviewed on 09/10/2018
PACR006 | Site-specific winter annual ratio (WAR) bands: Site-specific WAR bands are not available for End User Category (EUC) 03-08 sites | 4 | 4 | Not Effective (x1) | 16 | 16 | 8908 | - | 524 | - | 4 | 4 | Partially Effective (x0.8) | 16 | 12.8 | - | Shipper Performance | Reviewed on 09/10/2018
PACR007 | Undetected LDZ Offtake measurement errors: The gas measured into the network is incorrect and remains undetected | 3 | 2 | Not Effective (x1) | 6 | 6 | 7051 | 7051 | 415 | 415 | 3 | 2 | Partially Effective (x0.8) | 6 | 4.8 | PACR004 | Transporter Performance | Reviewed on 09/10/2018
PACR008 | Unregistered Supply Points: The supply point is not registered, but is consuming gas. | 2 | 4 | Not Effective (x1) | 8 | 8 | 2481 | 621 | 137 | - | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8 | - | Shipper and Transporter Performance | Reviewed on 09/10/2018
PACR009 | Shipperless Supply Points: The supply point exists on the Supply Point Register with no registered Shipper whilst consuming gas | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8 | 2326 | - | 146 | 37 | 2 | 2 | Partially Effective (x0.8) | 4 | 3.2 | - | Shipper and Transporter Performance | Reviewed on 09/10/2018
PACR010 | Meter readings fail validation (product classes 3 and 4): Insufficient reads are loading into UKLink eroding the accuracy of the AQ | 2 | 4 | Not Effective (x1) | 8 | 8 | 1439 | - | 85 | - | 2 | 3 | Effective (x0.6) | 6 | 3.6 | - | Shipper Performance | Reviewed on 09/10/2018
PACR011 | Derived meter read drift: The consumption derived from automatic reads is not reflective of the actual consumption recorded on the meter and this is not identified | 2 | 4 | Not Effective (x1) | 8 | 8 | 1437 | 467 | 85 | 27 | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8 | - | Shipper Performance | Reviewed on 09/10/2018
PACR012 | Required meter read frequency for product 4 meters: The differing required frequency in meter read provision between product class 3 and 4 sites | 2 | 4 | Not Effective (x1) | 8 | 8 | 1350 | - | 79 | - | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8 | - | Shipper Performance | Reviewed on 09/10/2018
PACR013 | Change of Shipper Reads: Estimated Change of Shipper reads are used and rather than actual reads, creating inaccurate reconciliation to the shippers involved | 1 | 3 | Not Effective (x1) | 3 | 3 | 408 | 410 | 24 | 24 | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6 | - | Shipper Performance | Reviewed on 09/10/2018
PACR014 | Meter readings not provided within the settlement window: Sites do not have any reads loaded in the settlement window | 1 | 3 | Not Effective (x1) | 3 | 3 | 79 | 79 | 5 | 5 | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6 | - | Shipper Performance | Reviewed on 09/10/2018
PACR015 | Retrospective updates: Application of an inconsistent approach by Shippers and the industry to retrospective updates | 1 | 3 | Not Effective (x1) | 3 | 3 | - | 5 | - | 0 | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6 | - | Shipper Performance | Reviewed on 09/10/2018
PACR016 | Correction Factors (CF) – incorrect use of standard CF above 732,000 kWh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 732,000 kWh | 2 | 2 | Not Effective (x1) | 4 | 4 | - | 2521 | - | 148 | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE! | - | Shipper Performance | Reviewed on 09/10/2018
PACR017 | Correction Factors (CF) – use of a standard CF for sites consuming on or below 73,200 kWh | 5 | 5 | Not Effective (x1) | 25 | 25 | - | 44702 | - | 2629 | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE! | - | Shipper Performance | Reviewed on 09/10/2018
PACR018 | Correction Factors (CF) – incorrect use of standard CF below 732,000 kWh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 73,200 kWh and below 732,000 kWh | 5 | 5 | Not Effective (x1) | 25 | 25 | TBD | TBD | TBD | TBD | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE! | - | Shipper Performance | Reviewed on 09/10/2018
PACR019D | Smart Meter exchanges - Late meter exchanges involving smart meters | 3 | 3 | Not Effective (x1) | 9 | 9 | TBD | TBD | TBD | TBD | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE! | - | Shipper Performance | To be reviewed on 20/11/2018
PACR020D | Issues with UK Link post new UK Link implementation | 3 | 4 | Partially Effective (x0.8) | 12 | 9.6 | TBD | TBD | TBD | TBD | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE! | - | Shipper Performance | To be reviewed on 20/11/2018
[7 empty] | Cost at average SAP 1.7p for higher threshold (Oct 2012 – Nov 2016) |  |  |  | Target scores are for the PAF year 2018-19

## Risk Scores
Each risk is assigned a rating for both Energy Throughput and Likelihood of occurrence using the matrix below. The risk rating is scored based on the financial impacts and the likelihood of the risk occurring. The Cost (£’000) column has been added to provide an estimated monetary amount that relates to each Energy Throughput banding.
A rating of 1 represents the lowest rating that equates to either an Energy Throughput of between 0-49 GWh or Likelihood of less than 10% probability. Conversely a rating of 5 represents the highest rating that equates to either an Energy Throughput of above 1,000 GWh or Likelihood of more than or equal to 90% probability.
Rating | Energy Throughput (GWh) | Cost (£ '000) | Likelihood Description
1 (lowest) | 0 – 49 | 850 | Remote Probability – <10% chance
2 | 50 – 249 | 4250 | Less Likely Probability – >=10% and < 40% chance
3 | 250 – 499 | 8500 | Equally unlikely as likely Probability – >=40% and < 60% chance
4 | 500 – 999 | 17000 | More likely Probability – >=60% and < 90% chance
5 (highest) | > 1,000 | 42,500 (no upper limit) | Almost certain Probability – >=90% chance
To determine the VAR, the average System Average Price (SAP) across the period of October 2012 and November 2016 of 1.7p was used. The energy volumes associated with the risk is multiplied by the SAP to determine the VAR.
Risk Control | Control Factor
Effective | x0.6 | Key controls have not been established or are deemed to be ineffective. Action plans to rectify the fundamental weakness have still to be fully identified and agreed.
Partially Effective | x0.8 | Key controls are in place but have either not been subject to suitable assurance activity or testing reveals that some control improvements, not deemed to be fundamental, are required.
Not Effective | x1 | Key controls are in place, are tested periodically as appropriate and are deemed satisfactory. This testing includes independent challenge where the risk is deemed significant (e.g. from Internal Audit or another independent assurance provider).
Risk Example
If a risk was identified that was less than 50% likely to occur and posed a financial risk of 79 GWh to Allocation and 0 GWh to Reconciliation, the VAR would be: Allocation (79 GWh) x SAP (1.7p) = VAR (£1,350,000): 79,000,000 x 0.017 = £1,350,000.
This risk would have an Energy Throughput and Cost banding of 2.
This risk would have a Likelihood banding of 3.
The Gross risk score would be: Throughput (2) x Likelihood (3) = Gross Score (6): 2 x 3 = 6.
Multiplication by the Control Factor would then produce the Net risk score.
If the risk had Partially Effective Controls, the Net risk would be:
Gross risk (6) x Control Factor (0.8) = Net risk (4.8): 6 x 0.8 = 4.8.

## 001-Theft of Gas
Risk Number | PACR001 | Risk Description / Title: | Theft of Gas: The consumption recorded at and by the meter does not record the actual consumption at the premise because of theft of gas at that premise
|  | There is a risk that… | Some energy being consumed at a premise is not being recorded due to theft leading to a higher level of unidentified gas in settlements
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 2483 | Allocation (£ '000) | 42218
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 2532 | Reconciliation (£ '000) | 43046
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 5 | Not Effective (x1) | 25 | 25 | Reviewed on 09/10/2018
|  | Target | 5 | 4 | Partially Effective (x0.8) | 20 | 16
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Failure to identify consumers and customers who conduct theft of gas. |  | The sites and quantity of gas stolen cannot be identified, gas cannot be allocated and reconciled correctly |  | Proposed: Detective: Shipper performance report to be produced in the future. Preventative: The TRAS framework. Above controls that have been put in place (obligations, TRAS etc.) have yet to be considered or reviewed by PAC, and until they are reviewed, an assumption that the controls are not effective has been made. | Action 0801: TRAS representative to attend the November PAC meeting to provide an update of activities. Investigate data provided from AUGE Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 002 - Use of the AQ Corrections
Risk Number | PACR002 | Risk Description / Title: | AQ Correction Process: The process to correct AQ’s is not used correctly or appropriately thereby applying a bias to the AQ corrections which is not reflective of the AQ corrections needed in any shipper’s portfolio
|  | There is a risk that… | Shippers do not apply AQ corrections in a fair and consistent way thereby introducing a bias, ultimately leading to inaccurate levels of unidentified gas in settlements
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 1895 | Allocation (£ '000) | 32218
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 1899 | Reconciliation (£ '000) | 32286
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 5 | Not Effective (x1) | 25 | 25 | Reviewed on 09/10/2018
|  | Target | 3 | 5 | Partially Effective (x0.8) | 15 | 12
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Misunderstanding as well as misuse of how and when to use the AQ correction process. Also Erroneous reads, significant changes in consumption and sites with AQ incorrectly calculated of 1. The misuse and misunderstanding (not actioning) can lead to deflated AQs as a result, e.g. lowered erroneous consumption due to tampered reads means AQs should potentially be increased once theft is discovered. |  | The AQ allocated does not provide an accurate reflection of gas consumption; impacts allocation to the shipper and unidentified gas. The misallocation will not be corrected until Meter Point Reconciliation takes place. |  | Proposed: To be Agreed. Reporting to monitor use of the corrections process and provide assurance that corrections are submitted in a fair and consistent manner. Production of shipper performance report 2A.8 and 2B.8 Monitor the progress of XRN4525, which proposes the introduction of additional metrics for the PAC reports. | Monitoring of Report 2A.8 to help show the use of the AQ correction process. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 003 - Estimated readings
Risk Number | PACR003 | Risk Description / Title: | Use of estimated reads for Daily Metered sites (Product Class 1 and 2) due to an actual daily reading not being loaded onto UK Link
|  | There is a risk that… | The algorithm used to determine the estimated consumption for a DM Site does not reflect the actual consumption at that site leading to inaccurate allocation and settlement
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 1386 | Allocation (£ '000) | 23555
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 3 | Reconciliation (£ '000) | 47
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 4 | Not Effective (x1) | 20 | 20 | Reviewed on 09/10/2018
|  | Target | 5 | 3 | Partially Effective (x0.8) | 15 | 12
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
The current cause of this risk is thought to be that the estimated read issue causes incorrect reconciliation at D+5. This risk should be considered as a risk to allocation, rather than a risk to reconciliation. |  | Estimated daily readings being used rather than actuals; allocation and reconciliation will be impacted. Use of estimated reads for these meters can affect unidentified gas volumes. Ultimately the meter point reconciliation corrects the position, though settlement remains inaccurate until then. |  | Proposed: To be Agreed. Manage and monitor the number of estimates used for MPRNs in PC2. Transporters to follow process in TPD M7.2 which are reviewed to ensure they are proportionate and mitigate the settlement risk for MPRNs in PC1. Targets to be investigated to ensure check read obligations are met. Production of shipper performance report 2A.1 and 2B.1 | Xoserve currently working with Shippers, the DMSP (Daily Metered Service Provider) and the GTs to resolve sites with this issue Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 004 - LDZ Offtake measure error
Risk Number | PACR004 | Risk Description / Title: | Identified LDZ Offtake measurement errors: The gas measured into the network has been identified as being incorrect
|  | There is a risk that… | The gas being measured into the network is incorrect impacting allocation and shrinkage calculations
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 1244 | Allocation (£ '000) | 21152
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | - | Reconciliation (£ '000) | -
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 3 | Partially Effective (x0.8) | 15 | 12 | Reviewed on 09/10/2018
|  | Target | 4 | 3 | Partially Effective (x0.8) | 12 | 9.6
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | PACR007 | Risk Type | Transporter Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Inadequate management and monitoring of offtake meters. Meter inaccuracies and equipment faults. |  | Gas incorrectly allocated to meter points within the LDZ. No back-up or check meters in place. Also misallocation of NTS shrinkage leading to increased unidentified gas allocation |  | Proposed: Manage and monitor LDZ Offtake meters to mitigate risk and implement a set of Transporter principles to provide assurance that the UNC Offtake arrangements are being followed. Performance report to be produced in the future. Shippers undertaking active verification of removed meters by using the GSR Notices Reports from Xoserve, as implemented in UNC 0518S Prevent Undetected errors from being included in both the Identified and Undetected volumes once they are resolved | 4 Transporters have published their quarterly Offtake Meter Performance reports outlining maintenance regime, meter error reports and copy of RRP report Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 005 - Incorrect asset data
Risk Number | PACR005 | Risk Description / Title: | Incorrect or absent meter asset data: Consumptions are inaccurately derived from the meter billing attributes provided
|  | There is a risk that… | The billing attributes of a meter are incorrectly recorded or missing leading to incorrect or no consumptions being derived from meter readings, impacting reconciliations and therefore settlement accuracy
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 823 | Allocation (£ '000) | 13987
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 828 | Reconciliation (£ '000) | 14073
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 4 | 4 | Not Effective (x1) | 16 | 16 | Reviewed on 09/10/2018
|  | Target | 4 | 4 | Partially Effective (x0.8) | 16 | 12.8
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Insufficient validation and/or assurance of information provided by Shippers (ultimately provided by Suppliers and MAMs) |  | Meter reads failing validation resulting in delays and/or missing reconciliation. For Class 1 & 2 (DM) the impact is at the point of allocation and persists in reconciliation unless spotted and corrected. For Class 3 & 4, allocation will be correct but the asset error will cause incorrect (or missing) reconciliation. |  | Proposed: To be Agreed. A principle of good behaviour to be introduced where Shippers are measured for updating incorrect asset data. Production of Shipper performance report for the following: 2A.9, 2B.9, 2A.2, 2B.2, 2A.3, 2A.3. PAC to investigate, attaining MDD validation data and information from Electralink. | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 006 - Site WAR for EUC 3-8
Risk Number | PACR006 | Risk Description / Title: | Site-specific winter annual ratio (WAR) bands: Site-specific WAR bands are not available for End User Category (EUC) 03-08 sites
|  | There is a risk that… | For daily settlement sites, a site-specific WAR band is not available from which more accurate profiles can be derived, leading to more accurate allocation and settlement
Effective From | 2017-09-25 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 524 | Allocation (£ '000) | 8908
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | - | Reconciliation (£ '000) | -
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 4 | 4 | Not Effective (x1) | 16 | 16 | Reviewed on 09/10/2018
|  | Target | 4 | 4 | Partially Effective (x0.8) | 16 | 12.8
|  | Inherent | 4 | 4 | Not Effective (x1) | 16 | 16
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Lack of meter read history means the WAR has not been populated or an estimated profile has been applied. |  | Allocated energy is not reflective of accurate consumption if timing for WAR bands are missed and thus daily allocations could be impacted and incorrect AQ values derived. However, reconciliation might be impacted as it might put energy into the wrong times of year. |  | Proposed: To be Agreed: Shippers to manage and monitor, on a monthly basis, the percentage of their MPRNs with a site specific WAR. Production of shipper performance report 2A.5 and 2B.5 | Xoserve currently investigating what the take up of WAR bands is. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 007 - Undetected LDZ errors
Risk Number | PACR007 | Risk Description / Title: | Undetected LDZ Offtake measurement errors: The gas measured into the network is incorrect and remains undetected
|  | There is a risk that… | The gas being measured into the network is incorrect due to a measurement error impacting settlement, the levels of unidentified gas and shrinkage, which remains whilst the error is undetected
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 415 | Allocation (£ '000) | 7051
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 415 | Reconciliation (£ '000) | 7051
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 3 | 2 | Not Effective (x1) | 6 | 6 | Reviewed on 09/10/2018
|  | Target | 3 | 2 | Partially Effective (x0.8) | 6 | 4.8
|  | Inherent | 4 | 4 | Not Effective (x1) | 16 | 16
Associated Risk | PACR004 | Risk Type | Transporter Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Offtake errors from LDZ's are occurring but are not being identified and corrected. Inadequate management and monitoring of LDZ offtake meters. Also there are no back-up or check meters in place. Meter inaccuracies and equipment faults remain undetected until reconciliation takes place |  | The incorrect LDZ offtake measurements leads to gas being wrongly allocated. Misallocation of NTS shrinkage leading to increased Unidentified Gas allocation. |  | Proposed: To be agreed: Transporters manage and monitor LDZ offtake meters in mitigating risk. Frequent auditing and investigation into LDZ offtake measurement errors. Use the Transporter performance to provide industry assurance that UNC Offtake Arrangements are met. Performance report to be produced in the future | 4 Transporters have published their quarterly Offtake Meter Performance reports outlining maintenance regime, meter error reports and copy of RRP report. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 008 - Unregistered Sites
Risk Number | PACR008 | Risk Description / Title: | Unregistered Supply Points: The supply point is not registered, but is consuming gas.
|  | There is a risk that… | No shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 137 | Allocation (£ '000) | 2481
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | - | Reconciliation (£ '000) | 621
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 4 | Not Effective (x1) | 8 | 8 | Reviewed on 09/10/2018
|  | Target | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8
|  | Inherent | 3 | 4 | Not Effective (x1) | 12 | 12
Associated Risk | n/a | Risk Type | Shipper and Transporter Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Following a new connection, meters are fitted and gas is allowed to flow without a valid supply contract being in place (where they have an MPRN) Also incorrectly identifying customer owned meters as check meters. |  | Shipper fails to register a site. The consumption at those sites is not measured and falls in to unidentified gas. |  | Proposed: To be Agreed. Manage and monitor the performance and ensure that the intentions of UNC MOD 410A are achieved. | PAC to obtain reports around unregistered sites for PAC consideration PAC to ensure there is a clear demarcation between themselves and the Shipperless and Unregistered Sites working group. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 009 - Shipperless Sites
Risk Number | PACR009 | Risk Description / Title: | Shipperless Supply Points: The supply point exists on the Supply Point Register with no registered Shipper whilst consuming gas
|  | There is a risk that… | No shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 146 | Allocation (£ '000) | 2326
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 37 | Reconciliation (£ '000) | -
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8 | Reviewed on 09/10/2018
|  | Target | 2 | 2 | Partially Effective (x0.8) | 4 | 3.2
|  | Inherent | 2 | 3 | Not Effective (x1) | 6 | 6
Associated Risk | n/a | Risk Type | Shipper and Transporter Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Shippers are withdrawing from sites that still have meters attached. The site then starts and/or continues to consume gas |  | The gas consumed is not measured and falls into unidentified gas. This also impacts accuracy of settlement |  | Proposed: To be Agreed. Shippers to manage and monitor that UNC MODs 0424 and 0425 are met. MOD 0469S details Transporter performance. Review outputs from MOD0431. Also monitoring Shippers follow the correct withdrawal process and Transporters to ensure that GSR visits are completed on time. Monitor site re-registrations to ensure energy allocation is corrected. Production of shipper performance report | PAC members to understand issues in the performance reports, should there be any once reports are received. PAC to ensure there is a clear demarcation between themselves and the Shipperless and Unregistered Sites working group. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 010 - Readings fail validation
Risk Number | PACR010 | Risk Description / Title: | Meter readings fail validation (product classes 3 and 4): Insufficient reads are loading into UKLink eroding the accuracy of the AQ
|  | There is a risk that… | Actual reads are either sent and fail validation or are not sent so that insufficient reads are provided to maintain the AQ accuracy leading to inaccurate allocation and settlement.
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 85 | Allocation (£ '000) | 1439
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | - | Reconciliation (£ '000) | -
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 4 | Not Effective (x1) | 8 | 8 | Reviewed on 09/10/2018
|  | Target | 2 | 3 | Effective (x0.6) | 6 | 3.6
|  | Inherent | 2 | 4 | Not Effective (x1) | 8 | 8
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Shippers are not managing the validation errors identified and therefore not remedying the issue. Also causes for rejected reads not investigated which reflects in inaccurate consumption. |  | Because of a poor and/or diminishing meter reading history, reconciliation will not be possible and the derived AQ is more likely to be inaccurate. |  | Proposed: To be agreed: Manage and monitor the use of data set tolerance readings and focus on where there are persistent read fail validations. Production of shipper performance report 2A.6, 2B.6. Monitor number of failed reads per shipper (this is dependent on what above shipper performance reports cover). | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 011 - Late Check Reads
Risk Number | PACR011 | Risk Description / Title: | Derived meter read drift: The consumption derived from automatic reads is not reflective of the actual consumption recorded on the meter and this is not identified
|  | There is a risk that… | Consumption drift is not identified because check reads are not obtained to identify the issue, leading to incorrect consumptions being used in settlement.
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 85 | Allocation (£ '000) | 1437
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 27 | Reconciliation (£ '000) | 467
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 4 | Not Effective (x1) | 8 | 8 | Reviewed on 09/10/2018
|  | Target | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8
|  | Inherent | 2 | 4 | Not Effective (x1) | 8 | 8
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Shippers failing to provide timely check reads and providing late reads. Shippers not checking converters at the same time as the main meters. |  | Late check readings impact accurate allocation and extend drift periods. Derived readings cannot be verified as being accurate leading to potential consumption inaccuracies. |  | Proposed: To be agreed: Ensure obligation for shippers to check converters at the same time as the main meter is met. Production of shipper performance report 2A.1, 2B.1 | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 012 - Meter read submission PC4
Risk Number | PACR012 | Risk Description / Title: | Required meter read frequency for product 4 meters: The differing required frequency in meter read provision between product class 3 and 4 sites
|  | There is a risk that… | The frequency of submission of meter readings for Product Class 4 meter points could adversely impact the accuracy of the derived AQ and consumption along with the frequency of reconciliation
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 79 | Allocation (£ '000) | 1350
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | - | Reconciliation (£ '000) | -
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 4 | Not Effective (x1) | 8 | 8 | Reviewed on 09/10/2018
|  | Target | 2 | 3 | Partially Effective (x0.8) | 6 | 4.8
|  | Inherent | 2 | 4 | Not Effective (x1) | 8 | 8
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Shippers submitting meter readings infrequently |  | Timing differences in submission will create a risk of misallocation among shippers. The AQ will not be recalculated frequently from a good meter reading history leading to potential inaccuracies. |  | Proposed: Obligations recently introduced following CMA order (annual read submission obligation and monthly read submission for smart). Manage and monitor frequency of read submissions. Production of shipper performance report 2A.5, 2B.5 Individual meter point reconciliation should correct this miscalculation. | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 013 - Est. Reads Change Shipper
Risk Number | PACR013 | Risk Description / Title: | Change of Shipper Reads: Estimated Change of Shipper reads are used and rather than actual reads, creating inaccurate reconciliation to the shippers involved
|  | There is a risk that… | The opening and closing periods of reconciliation are not accurately reflected for the two shippers when an actual read is not used impacting reconciliation accuracy
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 24 | Allocation (£ '000) | 408
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 24 | Reconciliation (£ '000) | 410
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 1 | 3 | Not Effective (x1) | 3 | 3 | Reviewed on 09/10/2018
|  | Target | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6
|  | Inherent | 3 | 3 | Not Effective (x1) | 9 | 9
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
No reading obtained within the change of transfer window and/or rejected by initial validation due to incorrect AQ. Shippers do not have an actual reading to replace the estimate following transfer |  | Estimated opening meter read used during the reconciliation between the two shippers will be inaccurate. This will result in an incorrect final allocation for the transferring parties; accuracy of the whole market will not be accurate. This can be described as a temporary UIG and can be updated once reads are submitted |  | Proposed: UNC, SPAA and supply license rules and regulations. SARs process to correct change of supplier reads. Production of shipper performance report 2A.4, 2B.4 | PAC to review Shipper agreed reads process to see if there are any issues. Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/17
Tracker

## 014 - Failure to obtain read
Risk Number | PACR014 | Risk Description / Title: | Meter readings not provided within the settlement window: Sites do not have any reads loaded in the settlement window
|  | There is a risk that… | Reconciliations will be crystallised based on estimated readings due to the failure to provide a meter reading within the settlement window, impacting settlement accuracy and unidentified gas
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | 5 | Allocation (£ '000) | 79
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 5 | Reconciliation (£ '000) | 79
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 1 | 3 | Not Effective (x1) | 3 | 3 | Reviewed on 09/10/2018
|  | Target | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6
|  | Inherent | 2 | 3 | Not Effective (x1) | 6 | 6
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation & Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Meter readings are not being obtained within the settlements window. Also read validation errors not being corrected by shippers. |  | Incorrect consumption being crystallised due to lack of meter reads |  | Proposed: To be agreed: Principle of logic checks to approve consumption adjustments. Production of shipper performance report 2A.7, 2B.7 | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/2017
Tracker

## 015 - Retrospective updates
Risk Number | PACR015 | Risk Description / Title: | Retrospective updates: Application of an inconsistent approach by Shippers and the industry to retrospective updates
|  | There is a risk that… | The application of an inconsistent approach to retrospective updates introduces a bias and therefore impacts settlement accuracy
Effective From | 2017-07-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | - | Allocation (£ '000) | -
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 0 | Reconciliation (£ '000) | 5
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 1 | 3 | Not Effective (x1) | 3 | 3 | Reviewed on 09/10/2018
|  | Target | 1 | 2 | Partially Effective (x0.8) | 2 | 1.6
|  | Inherent | 1 | 3 | Not Effective (x1) | 3 | 3
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Allocation
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Commercial drivers and incentives on shippers do not promote a fair and balanced approach to use retrospective updates. |  | An unfair and unbalanced approach to retrospective updates, allocation could be skewed and distorted overall towards greater unidentified gas. |  | Proposed: To be agreed: Monitoring the use of the retrospective updates process, by measuring update requests. Full set of retrospective adjustment update requirements not fully delivered at initial Nexus implementation, work is being done to refine requirements and agree future delivery Shipper performance report to be produced in the future. | Consultation to commence 13/10/17 |  | PAC review meeting on 10/10/2017
Tracker

## 016 - Std CF >732,000 kWh
Risk Number | PACR016 | Risk Description / Title: | Correction Factors (CF) – incorrect use of standard CF above 732,000 kWh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 732,000 kWh
|  | There is a risk that… | The standard correction factor is used when a site-specific correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement
Effective From | 2018-09-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | - | Allocation (£ '000) | -
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 148 | Reconciliation (£ '000) | 2521
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 2 | 2 | Not Effective (x1) | 4 | 4 | Reviewed on 09/10/2018
|  | Target | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE!
|  | Inherent | 2 | 2 | Not Effective (x1) | 4 | 4
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
The Correction Factor being defaulted to standard correction factor (1.02264) for sites consuming above 732,000 kWh. Site specific correction factors are intended to account for site specific conditions of temperature and pressure |  | Inaccurate settlement allocation for that Shipper. Increased/reduced Unidentified Gas smeared across all other Shippers. |  |  | Initial analysis completed. Further reporting and analysis required to assess risk level.
Tracker

## 017 - Std CF < 73,200 kWh
Risk Number | PACR017 | Risk Description / Title: | Correction Factors (CF) – use of a standard CF for sites consuming on or below 73,200 kWh
|  | There is a risk that… | Using a standard correction factor as required in the Thermal Energy Regulations introduces inaccuracy to settlements
Effective From | 2018-09-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | - | Allocation (£ '000) | -
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | 2629 | Reconciliation (£ '000) | 44702
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 5 | Not Effective (x1) | 25 | 25 | Reviewed on 09/10/2018
|  | Target | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE!
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Standard correction factors don’t necessarily account for all variations of temperature and pressure differences |  | Inaccurate settlement energy being recorded across the scale |  |  | Initial analysis completed. Further reporting and analysis required to assess risk level.
Tracker

## 018 -Std CF>73,200 and <732,000
Risk Number | PACR018 | Risk Description / Title: | Correction Factors (CF) – incorrect use of standard CF below 732,000 kWh: Incorrectly using standard Correction Factor (1.02264) for sites consuming above 73,200 kWh and below 732,000 kWh
|  | There is a risk that… | The standard correction factor is used when a site-specific correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement
Effective From | 2018-09-11 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | TBD | Allocation (£ '000) | TBD
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | TBD | Reconciliation (£ '000) | TBD
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 5 | 5 | Not Effective (x1) | 25 | 25 | Reviewed on 09/10/2018
|  | Target | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE!
|  | Inherent | 5 | 5 | Not Effective (x1) | 25 | 25
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Standard correction factors don’t necessarily account for all variations of temperature and pressure differences |  | Inaccurate settlement energy being recorded across the scale |  |  | Initial analysis completed. Further reporting and analysis required to assess risk level.
Tracker

## 019D - Smart Meter Exchanges
Risk Number | PACR019D | Risk Description / Title: | Smart Meter exchanges - Late meter exchanges involving smart meters
|  | There is a risk that… | There is a risk that the scale and number of smart meter installations in the short and medium term could have an impact on settlement
Effective From | 2018-11-20 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | TBD | Allocation (£ '000) | TBD
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | TBD | Reconciliation (£ '000) | TBD
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 3 | 3 | Not Effective (x1) | 9 | 9 | To be reviewed on 20/11/2018
|  | Target | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE!
|  | Inherent | 3 | 3 | Not Effective (x1) | 9 | 9
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Meter installations should be correctly recorded in central settlement systems, but inherent complexity with the flow of meter asset data means there will be an underlying error rate of late notified meter exchanges. |  | Incorrect settlement energy being potentially recorded against the affected meters. |  | No industry reporting exists to monitor this at present (timeliness of smart meter exchange notifications in settlement systems). | To be reviewed on 20/11/2018
Tracker

## 020D - UK Link post issues
Risk Number | PACR020D | Risk Description / Title: | Issues with UK Link post new UK Link implementation
|  | There is a risk that… | There is a risk that the many issues identified post new UK Link implementation leads to incorrect attribution of energy
Effective From | 2018-11-20 | Raised by | Performance Assurance Committee (PAC) | Risk Energy and Financial Estimate | Allocation (GWh) | TBD | Allocation (£ '000) | TBD
Effective To | 2264141 | Risk Status (Active/ Monitoring/Closed) | Active |  | Reconciliation (GWh) | TBD | Reconciliation (£ '000) | TBD
Risk Scores |  |  | Throughput | Likelihood | Control | Gross Risk | Net Risk | Risk Review Date
|  | Current | 3 | 4 | Partially Effective (x0.8) | 12 | 9.6 | To be reviewed on 20/11/2018
|  | Target | - | - | Partially Effective (x0.8) | #VALUE! | #VALUE!
|  | Inherent | 3 | 4 | Partially Effective (x0.8) | 12 | 9.6
Associated Risk | n/a | Risk Type | Shipper Performance |  | Category |  | Settlement
Potential Causes of the risk |  | Potential Consequences of the Risk Event Occurring (e.g.. Because of …) |  | Controls | Actions |  | Owner and Target Completion Date
Such issues include many incorrectly calculated AQs, reconciliation amendments, UIG calculations and other data and processing issues that impact on volume calculations |  | Incorrect settlement energy being recorded for some or all parties. |  | Visibility of progress against plans is scant and new issues over 12 months after Go Live undermines confidence in controls. | To be reviewed on 20/11/2018
Tracker