## Report Sheet
Measurement Error Reports Summary
Unique Reference Number (Allocated by Joint Office) |  | SC001
Report Reference Number (ie Unique Reference Number plus Report Date) |  | SC00129062008
Brief Description | Alternative Entry
Reason Measurement Error Detected | For Offtake Arrangements Workstream
Process Dates | Latest Notification Update | 2008-06-29
| Anticipated MER/SMER Publication | 31/09/2008
Measurement Error Dates | First Notified | 2008-06-29
| Discovered | 2008-06-22
Started (or last good read)
Corrected
Offtake |  | Lockerbie
Transporter | Upstream | National Grid - NTS
| Downstream | Scotia Gas - DN
LDZ |  | SC
Average flow rates for the meter for the perceived duration of the Measurement Error (MCM)
Assessed volume (MCM)
Estimated quantity (GWh) |  | 60
Estimated Significance |  | High | >= 50 GWh
Systematic Bias? |  | Yes
Over or Under Read? |  | Over
Error Status |  | Error Notified
Meeting Date |  | 2008-08-15
Meeting Location |  | 31 Homer Road
Meeting Purpose |  | Recommend Expert
Notification Made |  | 2008-07-31
Papers Published |  | 2008-08-06
Name of Expert

## Look Up Data
Look Up Table For Offtake Data - Subject to Checking By Transporters
DN/NTS Offtake Site | Site Type | Upstream Transporter | Downstream Transporter | LDZ
Alrewas EM | Offtake | National Grid - NTS | National Grid - DN | EM
Alrewas WM | Offtake | National Grid - NTS | National Grid - DN | WM
Armadale | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Aspley | Offtake | National Grid - NTS | National Grid - DN | WM
Asselby | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Austrey | Offtake | National Grid - NTS | National Grid - DN | WM
Aylesbeare | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Baldersby | Offtake | National Grid - NTS | Northern Gas Networks – DN | NE
Balgray | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Barrington | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Blaby | Offtake | National Grid - NTS | National Grid - DN | EM
Blackrod | Offtake | National Grid - NTS | National Grid - DN | NW
Blyborough | Offtake | National Grid - NTS | National Grid - DN | EM
Braishfield | Offtake | National Grid - NTS | Scotia Gas - DN | SO
Brisley | Offtake | National Grid - NTS | National Grid - DN | EA
Broxburn | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Burley Bank | Offtake | National Grid - NTS | Northern Gas Networks – DN | NE
Caldecott | Offtake | National Grid - NTS | National Grid - DN | EM
Careston | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Cirencester | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Coldstream | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Corbridge | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Cowpen Bewley | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Dowlais | Offtake | National Grid - NTS | Wales & West Utilities - DN | WS
Drointon Offtake | Offtake | National Grid - NTS | National Grid - DN | WM
Drum | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Dyffryn Clydach | Offtake | National Grid - NTS | Wales & West Utilities - DN | WS
Easton Grey | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Eccleston | Offtake | National Grid - NTS | National Grid - DN | NW
Elton | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Evesham | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Eye | Offtake | National Grid - NTS | National Grid - DN | EA
Farningham | Offtake | National Grid - NTS | Scotia Gas - DN | SE
Fiddington | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Ganstead | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Gilwern | Offtake | National Grid - NTS | Wales & West Utilities - DN | WS
Gosberton | Offtake | National Grid - NTS | National Grid - DN | EM
Great Wilbraham | Offtake | National Grid - NTS | National Grid - DN | EA
Guyzance | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Hardwick | Offtake | National Grid - NTS | Scotia Gas - DN | SO
Holmes Chapel | Offtake | National Grid - NTS | National Grid - DN | NW
Horndon | Offtake | National Grid - NTS | National Grid - DN | SO
Humbleton | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Hume | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Ilchester | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Ipsden | Offtake | National Grid - NTS | Scotia Gas - DN | SO
Keld | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Kenn | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Kinknockie | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Kirkstead | Offtake | National Grid - NTS | National Grid - DN | EM
Langholm | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Leamington | Offtake | National Grid - NTS | National Grid - DN | WM
Little Burdon | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Littleton Drew | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Lockerbie | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Lower Quinton | Offtake | National Grid - NTS | National Grid - DN | WM
Luxborough Lane | Offtake | National Grid - NTS | National Grid - DN | NR
Maelor | Offtake | National Grid - NTS | Wales & West Utilities - DN | WN
Malpas | Offtake | National Grid - NTS | National Grid - DN | NW
Mappowder | Offtake | National Grid - NTS | Scotia Gas - DN | SO
Market Harborough | Offtake | National Grid - NTS | National Grid - DN | EM
Matching Green | Offtake | National Grid - NTS | National Grid - DN | EA
Melkinthorpe | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Mickle Trafford | Offtake | National Grid - NTS | National Grid - DN | NW
Milwich | Offtake | National Grid - NTS | National Grid - DN | WM
Nether Howcleugh | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Pannal | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Partington | Offtake | National Grid - NTS | National Grid - DN | NW
Peters Green | Offtake | National Grid - NTS | National Grid - DN | NT
Pickering | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Pitcairngreen Ot | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Pucklechurch | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Rawcliffe | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Ross | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Roudham Heath | Offtake | National Grid - NTS | National Grid - DN | EA
Royston | Offtake | National Grid - NTS | National Grid - DN | EA
Rugby | Offtake | National Grid - NTS | National Grid - DN | WM
Saltend Bp | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Saltwick | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Samlesbury | Offtake | National Grid - NTS | National Grid - DN | NW
Seabank | Offtake | National Grid - NTS | Wales & West Utilities - DN | SW
Shorne | Offtake | National Grid - NTS | Scotia Gas - DN | SE
Shustoke | Offtake | National Grid - NTS | National Grid - DN | WM
Silk Willoughby | Offtake | National Grid - NTS | National Grid - DN | EM
Soutra | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Stranraer | Offtake | National Grid - NTS | Scotia Gas - DN | SC
Stratford-Upon-Avon | Offtake | National Grid - NTS | National Grid - DN | WM
Sutton Bridge | Offtake | National Grid - NTS | National Grid - DN | EM
Tatsfield | Offtake | National Grid - NTS | Scotia Gas - DN | SE
Thornton Curtis | Offtake | National Grid - NTS | National Grid - DN | EM
Thrintoft | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Tow Law | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Towton | Offtake | National Grid - NTS | Northern Gas Networks - DN | NE
Tur Langton | Offtake | National Grid - NTS | National Grid - DN | EM
Walesby | Offtake | National Grid - NTS | National Grid - DN | EM
Warburton | Offtake | National Grid - NTS | National Grid - DN | NW
West Winch | Offtake | National Grid - NTS | National Grid - DN | EA
Weston Point | Offtake | National Grid - NTS | National Grid - DN | NW
Wetheral | Offtake | National Grid - NTS | Northern Gas Networks - DN | NO
Whitwell | Offtake | National Grid - NTS | National Grid - DN | EA
Winkfield | Offtake | National Grid - NTS | Scotia Gas - DN | SO
Yelverton | Offtake | National Grid - NTS | National Grid - DN | EA
Bacton | Terminal / Offtake | National Grid - NTS | National Grid - NTS
St. Fergus | Terminal / Offtake | National Grid - NTS | National Grid - NTS
Audley | Multijunction / Offtake | National Grid - NTS | National Grid - NTS
Lupton | Multijunction / Offtake | National Grid - NTS | National Grid - NTS
Paull | Multijunction / Offtake | National Grid - NTS | National Grid - NTS
Glenmavis | LNG / Offtake | National Grid - NTS | National Grid - NTS
Aberdeen | Compressor / Offtake | National Grid - NTS | National Grid - NTS
Bathgate | Compressor / Offtake | National Grid - NTS | National Grid - NTS
Bishop Auckland | Compressor / Offtake | National Grid - NTS | National Grid - NTS
Systematic Bias | Over/Under Indicator | Error Magnitude |  | Error Status
Yes | Over | High | >= 50 GWh | Error Notified
No | Under | Low | < 30 GWh | MER in Compilation
|  | Medium | >= 30, < 50 GWh | SMER in Compilation
MER Published
SMER Published
Awaiting First Available Invoice
Invoiced
Closed / No Rec Required

## JO Database
Report ID | Ref | Description | Reason | Latest Update | Anticipated Production | First Notified | Discovered | Started | Corrected | Offtake | Av Flow Rates | Volume | Quantity | Significance | Bias | Over/Under | Error Status | Workstream Date | Location | Purpose | Mtg Notified | Papers Published
SC00129062008 | SC001 | Alternative Entry | For Offtake Arrangements Workstream | 39628 | 31/09/2008 | 39628 | 39621 | 0 | 0 | Lockerbie | 0 | 0 | 60 | High | Yes | Over | Error Notified | 2008-08-15 | 31 Homer Road | Recommend Expert | 2008-07-31 | 2008-08-06
WS00129072008 | WS001 | Spreadsheet Demonstration | For Offtake Arrangements Workstream | 2008-07-29 | 2008-10-31 | 2008-07-29 | 2008-07-22 | 0 | 0 | Dyffryn Clydach | 0 | 0 | 40 | Medium | Yes | Under | Error Notified
WS00129082008 | WS001 | Spreadsheet Demonstration 2nd Report | For Offtake Arrangements Workstream | 2008-08-29 | 2008-10-31 | 2008-07-29 | 2008-07-22 | 2007-07-15 | 2007-08-20 | Dyffryn Clydach | 0 | 0 | 36 | Medium | Yes | Under | MER Published