CODE MODIFICATION PROPOSAL No. [xxxx]

"Summer and Winter Assured Pressure Periods "

Version 1.0

Date:					12/03/2008

Proposed Implementation Date:	01/06/2008 *see contingency details

Urgency:				Not Urgent

- The Modification Proposal

  - Nature and Purpose of this Proposal

Where capitalised words and phrases are used within this Modification Proposal, those words and phrases shall usually have the meaning given within the Uniform Network Code (unless they are otherwise defined in this Modification Proposal).  Key UNC defined terms used in this Modification Proposal are highlighted by an asterisk (*) when first used. This Modification Proposal*, as with all Modification Proposals, should be read in conjunction with the prevailing UNC.

In accordance with UNC Section J paragraph 2.5, National Grid NTS* agrees an Assured Offtake Pressure* at each DNO* Offtake* commencing 1 October and ending 30 September the following year.  This Assured Offtake Pressure is the minimum pressure that National Grid NTS must provide at an offtake under all operating conditions other than during a period of Force Majeure*.  However, agreeing a minimum pressure at an Offtake for a whole year, through both summer and winter periods, can limit the efficient and economic planning and operation of both transmission and distribution systems.

Where the Assured Offtake Pressure is set at the minimum pressure that is required in the winter, compressors may be required to operate during the summer to maintain the Assured Offtake Pressure, when a lower pressure may otherwise be acceptable.  Maintaining pressures in the summer that are not required could result in inefficient operation of the system.  Conversely where the Assured Offtake Pressure is set at the minimum pressure that can be achieved during the summer period, DNOs can only plan their system investment to this pressure even though there is a possibility that a higher winter pressure may be possible.  This could result in inefficient investment, as projects may be brought forward which could otherwise be deferred if higher pressures were assured.

This Modification Proposal therefore proposes that two Assured Offtake Pressures be provided for each year to provide better information to support system operation and investment planning:

- A winter pressure that is assured between 1 October and 31 March.

- A summer pressure that is assured between 1 April and 30 September.

It is envisaged that this Modification Proposal, if implemented, would result in the more economic and efficient operation and planning of the total system.  It may be the case that some DNO Offtakes are able to accept a pressure level in the summer that is lower than the current annual assured pressure.  This could result in less compression being used and less compressors being held on standby; more efficient compression would result in more efficient operation of the system.

National Grid NTS recognises that lowering pressure at a DNO Offtake has the potential to impact on other loads directly connected to the NTS, however all NExA* arrangements and associated parameters and timelines in relation to pressure would continue to be adhered to.

In some cases a higher winter pressure could be assured, as it would no longer be restricted by the summer operating regime.  Providing a higher assured winter pressure would allow DNOs to plan to this pressure, rather than the current annual assured pressure, potentially allowing the deferral of capex spend and therefore leading to more efficient operation of the total system.

It is proposed that these pressures be agreed through the existing annual OCS process which commences 1 June each year.  There would be no material change to the OCS process with the current requirement on DNOs to request Annual Assured Offtake Pressures at 0600 and 2200 being replaced with the requirement on DNOs to request Assured Offtake Pressures at 0600 and 2200 for the winter period (1 October to 31 March) and the summer period (1 April to 30 September).  Users will be able to change their requirements either upwards or downwards from their current Annual Assured Offtake Pressure.

In the event that the implementation date of this Proposal is later than 1 June 2008 then it is proposed that in order to avoid the changes being implemented mid-way though the OCS process, then implementation is deferred for one year so that it comes in to effect 1 June 2009 for that year’s OCS process.

  - Justification for Urgency and recommendation on the procedure and timetable to be followed (if applicable).

Urgent Procedures are not requested, however National Grid NTS suggests that this Proposal be progressed through UNC governance and if possible be implemented in time for it to apply to the 2008 OCS process.  Progressing the proposal in time for it to be included in this year’s OCS process would provide the opportunity to achieve the associated benefits of running the total system in a more economic and efficient manner at the earliest opportunity.

  - Recommendation on whether this Proposal should proceed to the review procedures, the Development Phase, the Consultation Phase or be referred to a Workstream for discussion.

Following discussion at the Transmission Workstream and the Offtake Arrangements Workstream, National Grid NTS recommends that this proposal proceed directly to consultation.  National Grid NTS also requests that the standard consultation period be reduced to 12 days in order to achieve a 1 June implementation date, if the proposal is implemented.

- Extent to which implementation of this Modification Proposal would better facilitate the achievement (for the purposes of each Transporter’s Licence) of the Relevant Objectives.

National Grid NTS considers this proposal would, if implemented, better facilitate the following Relevant Objectives* as set out in its Gas Transporter’s Licence*:

- In respect of Standard Special Condition A11, paragraph 1(a) (the efficient and economic operation of the pipe-line system), National Grid NTS believes that the potential to reduce Assured Offtake Pressures in summer at some DNO offtakes would result in more efficient use of compression and therefore more efficient operation of the NTS.  Also, the potential to agree higher pressures in winter at some DNO offtakes would enable the DNO to plan to the higher pressure, thereby potentially deferring capex spend.  The ability to facilitate increased storage capacity in DN networks through increased pressure is a more economic and efficient use of the system than facilitating storage through capex spend.  The provision of more accurate information through the OCS process will result in more economic and efficient planning and operation of the total system.

- The implications of implementing this Modification Proposal on security of supply, operation of the Total System and industry fragmentation.

National Grid NTS considers that implementation of this Proposal would not impact upon the principles of the operation of the system, with it being operated much the same as it is now, however it could have an impact upon the efficiency of that operation should summer pressure requirements reduce at sufficient DNO Offtakes.  Pressure commitments / agreements with other Users* connected to the NTS, who could potentially be affected by any reductions, would continue to be upheld and therefore little impact is envisaged on other classes of User, although National Grid NTS would welcome comments in that respect.

- The implications for Transporters and each Transporter of implementing this Modification Proposal, including:

- The implications for operation of the System:

National Grid NTS believes that this proposal, if implemented, would enable the System to be operated in a more economic and efficient manner as the changes in the commercial regime to more accurately reflect physical operation.

- The development and capital cost and operating cost implications:

National Grid NTS believes that the costs associated with the development of this proposal would be minimal; however there could be a reduction in capex and opex spend, or more efficient capex / opex spend, by all Transporters as a result of implementation.

- Whether it is appropriate to recover all of any of the costs and, if so, a Proposal for the most appropriate way for these costs to be recovered:

Not applicable

- The consequence (if any) on the level of contractual risk of each Transporter under the Uniform Network Code of the Individual Network Codes proposed to be modified by this Modification Proposal

Not applicable

- The extent to which the implementation is required to enable each Transporter to facilitate compliance with a safety notice from the Health and Safety Executive pursuant to Standard Condition A11 (14) (Transporters Only)

Not applicable

- The development implications and other implications for the UK Link System of the Transporter, related computer systems of each Transporter and related computer systems of Users

Not applicable

- The implications for Users of implementing the Modification Proposal, including:

- The administrative and operational implications (including impact upon manual processes and procedures)

National Grid NTS believes that there would be some impact, although minimal, upon the planning processes of the DNOs and National Grid NTS. However this Proposal, if implemented, would enable the System to be operated in a more economic and efficient manner.

- The development and capital cost and operating cost implications

National Grid NTS believes that there would be some impact, although minimal, upon the planning processes of the DNOs and National Grid NTS.

- The consequence (if any) on the level of contractual risk of Users under the Uniform Network Code of the Individual Network Codes proposed to be modified by this Modification Proposal

National Grid NTS does not anticipate there will be any contractual risk for Users as this Proposal, if implemented, would result in the commercial regime more accurately reflecting the physical regime.

- The implications of the implementation for other relevant persons (including, but without limitation, Users, Connected System Operators, Consumers, Terminal Operators, Storage Operators, Suppliers and producers and, to the extent not so otherwise addressed, any Non-Code Party)

National Grid NTS would continue to uphold existing agreements with other classes of User directly connected to the NTS and therefore feels there is little impact upon these Users, but welcomes comments on this area.

- Consequences on the legislative and regulatory obligations and contractual relationships of the Transporters

National Grid NTS believes that this Proposal, if implemented, would not impact upon the legislative and regulatory obligations and contractual relationships of the Transporters.

- Analysis of any advantages or disadvantages of implementation of the Modification Proposal not otherwise identified in paragraphs 2 to 9 above

Advantages

National Grid NTS believes that this Proposal, if implemented, would lead to the more economic and efficient planning and operation of the system.

Disadvantages

National Grid NTS considers that this Proposal, if implemented, could impact on other classes of User directly connected to the NTS, but the impacts would be minimal as National Grid NTS would continue to adhere to existing contractual arrangements with these Users, but comments are sought in this area.

- Summary of representations received as a result of consultation by the Proposer (to the extent that the import of those representations are not reflected elsewhere in this Proposal)

Not applicable

- Detail of all other representations received and considered by the Proposer

Not applicable

- Any other matters the Proposer considers needs to be addressed

None identified

- Recommendations on the time scale for the implementation of the whole or any part of this Modification Proposal

Sent to Modification Panel meeting 		 			20/03/08

Proposal issued for consultation (subject to Panel approval)		20/03/08

Closeout for representations (12 days)				09/04/08

FMR issued by Joint Office						10/04/08

Modification Panel decide upon recommendation			17/04/08

Ofgem decision expected						16/05/08

Proposed implementation date					01/06/08

- Comments on Suggested Text

To be advised

- Suggested Text

To be advised

Code Concerned, sections and paragraphs

Section(s)

UNC Transition Document, Section J

Proposer’s Representative

National Grid NTS

Proposer

National Grid NTS