## Demand Data Dictionary
Demand Data Dictionary
Proposed data Item in data dictionary | Data | Publication Frequency (Daily,Weekly,Monthly) | Publication For ( Hourly,D, D+1,D+2,M+15 etc OR ADHOC) | Approx Scheduled Publication Time | Relates to Network (NTS,LDZ or Both ) | Source data | Associated Data | Short Definition | Description of data item ( eg.North, South, Consolidated )
Demand Forecast LDZ (eg EA) | mcm | Daily | D-1, & D | D-1 14:00, 18:00, 02:00, D 12:00, 15:00, 18:00, 21:30, 02:00 | LDZ | DN Operator , demand in relevant LDZ | - | Demand forecast for individual LDZs, determined for each forecast run from 14:00 at one day ahead of the gas flow day and forecast runs during the gas flow day. | A prediction of the amount of gas expected for the given LDZ and Gas Day at the time of the forecast. This is the latest approved forecast.
Demand Actual LDZ (e.g EA) D+1 | mcm | Daily | D+1 | 12:15 | LDZ | DN Operator , demand in relevant LDZ | - | Actual demand for individual LDZs produced one day after the gas flow day. | The physical actual demand for each of the LDZs produced one day after the gas flow day.
Demand Actual LDZ (eg EA) D+6 | mcm | Daily | D+6 | 12:15 | LDZ | DN Operator , demand in relevant LDZ | - | Actual demand for a LDZ produced after close-out for a gas flow day. | The physical actual demand for each of the LDZs for a single gas day produced after close-out.
Demand Actual LDZ (eg EA) DM M+15 | kWh | Monthly | M+15 | N/A | LDZ | DN Operator , demand in relevant LDZ | - | Actual demand for the DM proportion by LDZ for each day of the calender month produced at M+15 | Actual demand for the DM proportion by LDZ for each day of the calender month produced at M+15
Demand Actual LDZ (eg EA) NDM M+15 | kWh | Monthly | M+15 | N/A | LDZ | DN Operator , demand in relevant LDZ | - | Actual demand for the NDM proportion of a LDZ for each day of the calender month produced at M+15. | Actual demand for the NDM proportion of a LDZ for each day of the calender month produced at M+15.
Demand Forecast NTS Cold | Mwh | Annual | - | N/A | NTS | Weather data & actual demand information | - | Daily cold profiles give an indication of extremes of cold weather that could be expected throughout the year. | Cold profiles give an indication of extremes of cold weather that could be expected throughout the year. Cold demand profiles are calculated from the demand models.
Demand Forecast NTS SND | Mwh | Annual | - | N/A | NTS | Weather data & actual demand information | - | Daily SND are the demands that are forecast to occur in seasonal normal weather, produced each year. | Daily SND are the demands that are forecast to occur in seasonal normal weather, produced each year. These are the year's restricted demand forecasts. The restricted demand forecasts include a level of demand response in the large industrial and power sectors at times of high prices.
Demand Forecast NTS Warm | Mwh | Annual | - | N/A | NTS | Weather data & actual demand information | - | Daily total (LDZ and NTS) demand to be expected in seasonally warm conditions produced each year annually. | Total (LDZ and NTS) Demand to be expected in seasonally warm conditions. Warm profiles give an indication of extremes of warm weather that could be expected throughout the year. Warm demand profiles are calculated from the demand models.
Demand Forecast Confidence Interval D-5 | mcm | Daily | D-5 | 16:00 | NTS | Histroical forecasting error | Demand Forecast NTS D-5 | Confidence interval derived from historical forecasting error produced 5 days ahead of the gas flow day. | This is the percentage level of confidence in the accuracy of the results; typically the confidence interval for the D-5 forecast will be greater than for the D-2 forecast. The confidence interval is derived from historical forecasting error updated every 6 months
Demand Forecast Confidence Interval D-4 | mcm | Daily | D-4 | 16:00 | NTS | Histroical forecasting error | Demand Forecast NTS D-4 | Confidence interval derived from historical forecasting error produced 4 days ahead of the gas flow day.
Demand Forecast Confidence Interval D-3 | mcm | Daily | D-3 | 16:00 | NTS | Histroical forecasting error | Demand Forecast NTS D-3 | Confidence interval derived from historical forecasting error produced 3 days ahead of the gas flow day.
Demand Forecast Confidence Interval D-2 | mcm | Daily | D-2 | 16:00 | NTS | Histroical forecasting error | Demand Forecast NTS D-2 | Confidence interval derived from historical forecasting error produced 2 days ahead of the gas flow day.
Demand Forecast NTS D-5 | mcm | Daily | D-5 | 16:00 | NTS | Weather data & actual demand information | Demand Forecast Confidence Interval D-5 | Physical demand forecast for the NTS produced at 5 days a head of the gas flow day. | The amount of gas that is expected to be delivered through the NTS for the given Gas Day at the time of the forecast. NTS Direct Load + LDZ Offtake Forecast + NTS Shrinkage Forecast Where: NTS Direct Load Forecast = forecast for NTS Industrial, NTS Power Stations, physical Storage Injection and physical Interconnector Export LDZ Offtake forecast = Sum of all the individual LDZ offtake forecasts NTS Shrinkage Forecast = Forecast of NTS CV shrinkage + OUG (Own Use Gas) + UAG (Unaccounted for Gas)
Demand Forecast NTS D-4 | mcm | Daily | D-4 | 16:00 | NTS | Weather data & actual demand information | Demand Forecast Confidence Interval D-4 | Physical demand forecast for the NTS produced at 4 days a head of the gas flow day.
Demand Forecast NTS D-3 | mcm | Daily | D-3 | 16:00 | NTS | Weather data & actual demand information | Demand Forecast Confidence Interval D-3 | Physical demand forecast for the NTS produced at 3 days a head of the gas flow day.
Demand Forecast NTS D-2 | mcm | Daily | D-2 | 16:00 | NTS | Weather data & actual demand information | Demand Forecast Confidence Interval D-2 | Physical demand forecast for the NTS produced at 2 days a head of the gas flow day.
Demand Forecast NTS | mcm | Daily | D-1 & D | D-1 14:00, 18:00, 02:00 D 12:00, 15:00, 18:00, 21:30, 02:00 | NTS | Weather data & actual demand information for D-1: 14:00 & 18:00. Offtake profile notices & Storage flow notifications for the remaining forecast runs. | - | Physical demand forecast for the NTS determined for each forecast at one day ahead of the gas flow day and during the gas flow day. | The amount of gas that is expected to be delivered through the NTS for the given Gas Day at the time of the forecast. NTS Direct Load + LDZ Offtake Forecast + NTS Shrinkage Forecast Where: NTS Direct Load Forecast = forecast for NTS Industrial, NTS Power Stations, physical Storage Injection and physical Interconnector Export LDZ Offtake forecast = Sum of all the individual LDZ offtake forecasts NTS Shrinkage Forecast = Forecast of NTS CV shrinkage + OUG (Own Use Gas) + UAG (Unaccounted for Gas)
Demand Forecast NTS Hrly | mcm | Daily | D | Hourly | NTS | Weather data & actual demand for then Offtake profile notices & Storage flow notifications | - | Physical demand forecast for the NTS determined hourly, from midnight of the specified gas day through to a final forecast at 03:00 the following day | How Estimate of Total System Demand for Gas is derived on an hourly basis : NTS Direct Load forecast + LDZ Offtake forecast + NTS Shrinkage Forecast:- Where : NTS Direct Load forecast = forecast for NTS Industrial, NTS Power Stations, physical Storage Injection and physical Interconnector Export. LDZ Offtake Forecast = Sum of all the individual LDZ offtake forecasts. NTS Shrinkage Forecast = Forecast of NTS CV Shrinkage + OUG (Own Use Gas) + UAG (Unaccounted for Gas)
Demand Actual NTS D+1 | mcm | Daily | D+1 | 12:15 | NTS | Metered flow | - | Actual physical demand for the NTS produced one day after the gas flow day. | The amount of gas (in MCM) delivered through the NTS for the given gas day. Actual throughput for this report is defined as: NTS Direct loads + LDZ Offtakes + NTS Shrinkage + NTS Linepack Change Where: NTS direct Loads = NTS Industrial, NTS Power Stations, physical Storage Injectionand physical Interconnector export. LDZ Offtakes = Sum of all individual LDZ offtakes NTS Shrinkage = Sum of NTS CV Shrinkage, OUG (Own Use Gas) and UAG (Unaccounted For Gas)
Demand Actual NTS D+6 | mcm | Daily | D+6 | 12:15 | NTS | Metered flow | - | Actual physical demand for the NTS produced after close-out for a gas flow day.
Demand Actual NTS D+6 Historical | Mcm | - | - | - | NTS | Metered flow | - | Actual physical demand for the NTS produced after close-out for a gas years from 2001 to 2006