## Slide 1: Nexus Meter Read Performance April 2018

## Slide 2: Index
Aim
Background to UKLP Changes relevant to Read Validation
Headline messages
Performance Statistics
Your experiences, views, concerns
Conclusion

## Slide 3: Aim
We will:-
  Share the facts and figures of the volume of Meter Reads and associated acceptance / rejection rates by site type (class)
  Provide an opportunity to understand your experiences, views, concerns and improvement opportunities
  Agree any common areas for further analysis and actions to improve the volumes of readings accepted into the system which in turn should improve a number of downstream processes e.g.:- Calculation of rolling AQ

## Slide 4: Background
As part of Project Nexus a number of changes were made to processes. The main ones impacting the read process were:-
Introduction of 4 different site types
  Class 1 – Daily Metered / Allocation. GT responsible for procuring reads
  Class 2 – Daily Metered / Allocation. Shipper responsible for procuring reads
  Class 3 – Daily readings in batches – NDM Allocation principles
  Class 4 – Non daily metered – NDM Allocation principles
Introduction of Read Validation Tolerances
Single aligned process for all GT & iGT customers

## Slide 5: Headline messages
Processed circa 62m Meter Reads since Nexus Go Live 1st June 2017
Class 1 – Volumes are in line with expectations, with an average acceptance rate of 87.5%
Class 2 – Started to see more volumes from November with an average acceptance rate over 2 months of 90%
Class 3 – Difficult to predict volumes, started to see volumes from October and an average acceptance rate of 60%
Class 4 – As expected highest volumes, circa 8m reads every month and an average acceptance rate of 82%
Replacement Reads – As expected majority are Class 4, with over 340k processed with an average acceptance rate of 62%

## Slide 6: Read Performance by Class – Class 1
25%
82%
74.99
11%
89%
15%
85%
18%
93%
7%
94%
6%
95%
5%
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 23859 | 27915 | 29329 | 29729 | 31429 | 29845 | 29849
Rejected | 7958 | 6325 | 5138 | 3597 | 2309 | 1984 | 1513
75%
25%
18%
85%
89%
11%
93%
94%
6%
95%
5%
Notes: Decline in rejections is proof of the assistance provided by data team as part of UIG piece of work
UIG – highlights problem sites that we are still working with industry to resolve
To be considered – number of sites we have that are Class 1 and the number of reads that would mean for every day each month – give an indication of level of estimation taking place

## Slide 7: Top 10 Rejection Reasons by Class – Class 1
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Incorrect Imperial/Metric indictor provided | 125 | 152 | 124 | 185 | 50 | 76 | 92
Reading Breached the upper Inner Tolerance value and no overide flag provided | 59 | 169 | 195 | 113 | 96 | 104 | 73
Previous meter read is greater than the current read and RTC indicator is zero | 148 | 164 | 216 | 146 | 49 | 65 | 63
Reading Breached the lower Outer Tolerance | 255 | 411 | 594 | 301 | 64 | 52 | 25
Incorrect round the clock indicator provided | 257 | 432 | 610 | 345 | 98 | 69 | 35
Reading Breached the upper Outer Tolerance | 505 | 688 | 519 | 318 | 163 | 75 | 43
MPRN is not identified as Class 1 site | 145 | 234 | 337 | 144 | 298 | 558 | 702
Meter Serial Number mismatch | 1918 | 1271 | 998 | 837 | 382 | 300 | 233
Convertor serial number is not associated with the MPRN | 2933 | 2024 | 1363 | 1037 | 554 | 324 | 258
Invalid number of dials | 4425 | 3496 | 2495 | 1984 | 1059 | 724 | 287
Notes: Majority of rejection reasons would have applied in the old world too
Energy tolerance reason is linked to the fact that ttz counts have not been provided – correlation between the two codes
RGMA related rejections link back to the work identified during UIG project where a significant number of RGMA amendments were required

## Slide 8: Energy Tolerance Rejections – Class 1
REJECTION_CODE | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
TOL00001 | Energy within tolerance and override flag provided | 36 | 72 | 93 | 45 | 193 | 197 | 68
TOL00004 | Reading Breached the upper Outer Tolerance | 505 | 688 | 519 | 318 | 163 | 75 | 43
TOL00005 | Reading Breached the lower Outer Tolerance | 255 | 411 | 594 | 301 | 64 | 52 | 25
TOL00006 | Reading Breached the upper Inner Tolerance value and no overide flag provided | 59 | 169 | 195 | 113 | 96 | 104 | 73
TOL00007 | Reading Breached the lower Inner Tolerance value and no overide flag provided | 4 | 0 | 10 | 0 | 0 | 0 | 0
 | Total | 11494 | 9788 | 8094 | 5892 | 3428 | 2852 | 2326
REJECTION_CODE | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
TOL00001 | Energy within tolerance and override flag provided | 0.31% | 0.74% | 1.15% | 0.76% | 5.63% | 6.91% | 2.92%
TOL00004 | Reading Breached the upper Outer Tolerance | 4.39% | 7.03% | 6.41% | 5.40% | 4.75% | 2.63% | 1.85%
TOL00005 | Reading Breached the lower Outer Tolerance | 2.22% | 4.20% | 7.34% | 5.11% | 1.87% | 1.82% | 1.07%
TOL00006 | Reading Breached the upper Inner Tolerance value and no overide flag provided | 0.51% | 1.73% | 2.41% | 1.92% | 2.80% | 3.65% | 3.14%
TOL00007 | Reading Breached the lower Inner Tolerance value and no overide flag provided | 0.03% | 0.00% | 0.12% | 0.00% | 0.00% | 0.00% | 0.00%
 | Total % of all rejections | 7.47% | 13.69% | 17.43% | 13.19% | 15.05% | 15.01% | 8.99%
Notes: New validations make up low percentage of rejections
The top two are reasons that are wholly within the gift of the DMSP to prevent with the exception of Prime Meters which is an area being looked into (small numbers)

## Slide 9: Read Performance by Class – Class 2
86%
14%
91%
9%
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 0 | 0 | 1 | 0 | 0 | 161 | 409
Rejected | 0 | 0 | 1 | 0 | 0 | 26 | 40
86%
14%
91%
9%
Notes: Only recently had sites that have transferred to Class 2 – read performance is good considering new arrangements for shippers - new files etc
To be considered – number of sites we have that are Class 2 and the number of reads that would mean for every day each month – give an indication of level of estimation taking place (gives more context)

## Slide 10: Top 10 Rejection Reasons by Class – Class 2
Chart: 
| 42948 | 42979 | 43009 | 43040 | 43070
MRE00436 The Meter Point already has a read for this date | 0 | 0 | 0 | 1 | 29
MRE00439 The convertor uncorrected read has not been supplied where there is a converter fitted and the converter reads are usable | 0 | 0 | 0 | 13 | 1
MRE01007 Meter, Convertor corrected and uncorrected reads not provided where DRE not present. | 0 | 0 | 0 | 13 | 1
MRE00457 New Meter Reading is less than previous meter reading | 0 | 0 | 0 | 0 | 6
MRE00458 New uncorrected reading is less than previous uncorrected reading | 0 | 0 | 0 | 4 | 0
MRE00459 New corrected reading is less than previous corrected reading | 0 | 0 | 0 | 0 | 3
MRE01026 Reading breached the lower Outer tolerance. | 0 | 0 | 0 | 0 | 3
MRE01027 Reading breached the Upper Outer tolerance. | 0 | 0 | 0 | 0 | 3
MRE01029 Reading breached the upper Inner tolerance value and no override flag provided. | 0 | 0 | 0 | 1 | 2
MRE00427 The converter corrected read has not been supplied where there is a converter fitted and the converter reads are usable | 0 | 0 | 0 | 0 | 2

## Slide 11: Read Performance by Class – Class 3
41%
59%
92%
8%
47%
53%
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 0 | 0 | 0 | 6 | 820223 | 874195 | 603956
Rejected | 0 | 14 | 35 | 47 | 1169917 | 77332 | 688896
41%
59%
92%
8%
47%
53%
Notes: Aware of issues some shippers having with class 3 – not being able to get opening read and read following in (going to pending status – not being rejected) – this could have a knock on effect to getting subsequent readings in if lower
Others appear to be one off issues
Aware that multiple failed attempts for MPR, same read date

## Slide 12: Top 10 Rejection Reasons by Class – Class 3
Chart: 
| 42917 | 42948 | 42979 | 43009 | 43040 | 43070
MRE01014 Opening read received for a read date not same as registration effective date for any shippers transfers involving Class 1 , 2 or 3. | 0 | 0 | 0 | 70 | 0 | 0
MRE00419 The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 0 | 0 | 0 | 62 | 5 | 42
MRE00489 Non-opening reading received outside the read receipt window | 0 | 4 | 4 | 4 | 5 | 395
MRE00457 New Meter Reading is less than previous meter reading | 0 | 0 | 0 | 77 | 590 | 12
MRE01027 Reading breached the Upper Outer tolerance. | 14 | 30 | 32 | 3233 | 1270 | 907
MRE01026 Reading breached the lower Outer tolerance. | 0 | 0 | 1 | 62875 | 17177 | 1469
MRE01032 MPRN received in an incorrect file based on its class on the read date | 0 | 3 | 6 | 67927 | 25039 | 33829
MRE01016 Actual read can only be replaced by a replacement read. | 0 | 0 | 0 | 138781 | 2428 | 149356
MRE01029 Reading breached the upper Inner tolerance value and no override flag provided. | 0 | 0 | 0 | 8953 | 29899 | 501679
MRE00420 The meter read does not have the expected number of digits | 0 | 1 | 0 | 887859 | 890 | 1174
Notes: June – No Class 3 sites
MRE00420 – Meter read does not have the expected number of digits – appears to have been a one off, one shipper submitted 99% of these – dramatically lower numbers since Oct
MRE01029 – ‘Reading breached the upper Inner tolerance value and no override flag provided’ – wholly within the gift of the shipper to prevent

## Slide 13: Energy Tolerance Rejections – Class 3
REJECTION_CODE | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
MRE01026 | Reading breached the lower Outer tolerance. | 0 | 0 | 0 | 1 | 62875 | 17177 | 1469
MRE01027 | Reading breached the Upper Outer tolerance. | 0 | 14 | 30 | 32 | 3233 | 1270 | 907
MRE01029 | Reading breached the upper Inner tolerance value and no override flag provided. | 0 | 0 | 0 | 0 | 8953 | 29899 | 501679
MRE01030 | Override tolerance passed and override flag provided | 0 | 0 | 0 | 0 | 0 | 10 | 0
 | Total | 0 | 14 | 30 | 33 | 75061 | 48356 | 504055
REJECTION_CODE | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
MRE01026 | Reading breached the lower Outer tolerance. | 0.00% | 0.00% | 0.00% | 2.08% | 5.37% | 22.21% | 0.21%
MRE01027 | Reading breached the Upper Outer tolerance. | 0.00% | 100.00% | 78.95% | 66.67% | 0.28% | 1.64% | 0.13%
MRE01029 | Reading breached the upper Inner tolerance value and no override flag provided. | 0.00% | 0.00% | 0.00% | 0.00% | 0.77% | 38.66% | 72.82%
MRE01030 | Override tolerance passed and override flag provided | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.01% | 0.00%
 | Total % of overall rejections | 0.00% | 100.00% | 78.95% | 68.75% | 6.42% | 62.52% | 73.16%
Notes: Are there any issues in the pre validation of readings prior to submission
MRE01029 – wholly within shippers gift to prevent
Aware that multiple failed attempts for MPR, same read date

## Slide 14: Read Performance by Class – Class 4
85%
15%
85%
15%
85%
15%
81%
19%
82%
18%
78%
22%
79%
21%
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 7675731 | 6319242 | 6830057 | 6626307 | 6647807 | 6886902 | 6451463
Rejected | 1314285 | 1116419 | 1251646 | 1504908 | 1498143 | 1906552 | 1737167
85%
15%
85%
15%
85%
15%
19%
18%
79%
21%
Notes: High level of acceptance in the largest pot of sites

## Slide 15: Top 10 Rejection Codes by Class – Class 4
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
MRE00420 The meter read does not have the expected number of digits | 34542 | 17027 | 23681 | 27682 | 39140 | 38877 | 24608
MRE01027 Reading breached the Upper Outer tolerance. | 40648 | 31861 | 33230 | 36357 | 39996 | 49492 | 57353
MRE01032 MPRN received in an incorrect file based on its class on the read date | 131 | 2427 | 8005 | 154654 | 56531 | 61261 | 63798
MRE00457 New Meter Reading is less than previous meter reading | 52799 | 46985 | 67085 | 83666 | 87738 | 85206 | 79175
MRE01026 Reading breached the lower Outer tolerance. | 53569 | 48255 | 67672 | 83988 | 88159 | 86013 | 79552
MRE00419 The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 73123 | 54451 | 72646 | 85138 | 119056 | 95068 | 85075
MRE00489 Non-opening reading received outside the read receipt window | 19190 | 126150 | 110833 | 45799 | 77494 | 231659 | 28680
MRE01029 Reading breached the upper Inner tolerance value and no override flag provided. | 63373 | 25742 | 21193 | 18628 | 20161 | 49078 | 211651
MRE01016 Actual read can only be replaced by a replacement read. | 109768 | 119756 | 151454 | 160947 | 105843 | 118768 | 79757
MRE00490 A breach of the allowed reading submission frequency occurred | 840064 | 652917 | 728474 | 855503 | 900704 | 1114422 | 1002068
Notes: MRE00490 – shipper pack containing legacy data shows that this made up 80% of rejections in legacy – need to understand is this causing an issue for the industry, is it automated systems sending in reads too frequently, is there anything we can do to help

## Slide 16: Energy Tolerance Rejections – Class 4
REJECTION_REASON | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
MRE01026 | Reading breached the lower Outer tolerance. | 53569 | 48255 | 67672 | 83988 | 88159 | 86013 | 79552
MRE01027 | Reading breached the Upper Outer tolerance. | 40648 | 31861 | 33230 | 36357 | 39996 | 49492 | 57353
MRE01029 | Reading breached the upper Inner tolerance value and no override flag provided. | 63373 | 25742 | 21193 | 18628 | 20161 | 49078 | 211651
MRE01030 | Override tolerance passed and override flag provided | 26660 | 11406 | 9987 | 8106 | 8994 | 19512 | 52723
 | Total | 184250 | 117264 | 132082 | 147079 | 157310 | 204095 | 401279
REJECTION_REASON | REJECTION_REASON | Jun-17 | Jul-17 | Aug-17 | Sep-17 | Oct-17 | Nov-17 | Dec-17
MRE01026 | Reading breached the lower Outer tolerance. | 3.77% | 3.94% | 4.86% | 5.08% | 5.28% | 4.14% | 4.22%
MRE01027 | Reading breached the Upper Outer tolerance. | 2.86% | 2.60% | 2.38% | 2.20% | 2.39% | 2.38% | 3.04%
MRE01029 | Reading breached the upper Inner tolerance value and no override flag provided. | 4.46% | 2.10% | 1.52% | 1.13% | 1.21% | 2.36% | 11.23%
MRE01030 | Override tolerance passed and override flag provided | 1.87% | 0.93% | 0.72% | 0.49% | 0.54% | 0.94% | 2.80%
 | Total % of overall rejections | 12.96% | 9.57% | 9.48% | 8.89% | 9.42% | 9.82% | 21.30%
Notes: Top code is all within the shippers gift to prevent
MRE01027 – Market Breaker rejections – number of queries surrounding these, normally data issues from legacy – assisting on case by case basis

## Slide 17: Replacement Read Performance – Class 3
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 0 | 0 | 0 | 0 | 84 | 14 | 2075
Rejected | 0 | 0 | 0 | 7 | 90 | 4 | 37
78% Accept
22% Reject
48% Accept
52% Reject
98% Accept
2% Reject
100% Reject
Notes: Replacement reads – high acceptance rate

## Slide 18: Replacement Read Rejections – Class 3
Chart: 
| MRE00424 | MRE00428 | MRE00435 | MRE00450 | MRE00457 | MRE00482 | MRE01007 | MRE01010 | MRE01027 | MRE01029 | MRE01032
Total | 1 | 1 | 2 | 1 | 8 | 8 | 2 | 2 | 1 | 29 | 88
CODE | REASON
MRE00424 | The converter serial number on the read does not agree with the converter serial number held on the Transporter Database
MRE00428 | The converter serial number has not been supplied where there is a converter is fitted
MRE00435 | The Meter Point has no opening read to be replaced
MRE00450 | Convertor Round the Clock Count should not be provided where a convertor is not fitted
MRE00457 | New Meter Reading is less than previous meter reading
MRE00482 | Meter point has no read to be replaced
MRE01007 | Meter, Convertor corrected and uncorrected reads not provided where DRE not present.
MRE01010 | Reading is higher than a subsequent actual valid meter reading
MRE01027 | Reading breached the Upper Outer tolerance.
MRE01029 | Reading breached the upper Inner tolerance value and no override flag provided.
MRE01032 | MPRN received in an incorrect file based on its class on the read date
Notes: Highest categories are easily avoided with education

## Slide 19: Replacement Read Performance – Class 4
53%
47%
66%
34%
66%
34%
71%
29%
67%
33%
63%
37%
49%
51%
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
Accepted | 26187 | 26227 | 29270 | 29746 | 31080 | 35203 | 30337
Rejected | 22938 | 13441 | 14777 | 12397 | 15125 | 20954 | 32165
53%
47%
66%
34%
66%
34%
71%
29%
67%
33%
63%
37%
49%
51%
Notes: Reflects the type of queries being received – number relate to replacement read rejections

## Slide 20: Replacement Read Rejections – Class 4
Chart: 
| 42887 | 42917 | 42948 | 42979 | 43009 | 43040 | 43070
MRE01026 Reading breached the lower Outer tolerance. | 81 | 81 | 77 | 70 | 78 | 76 | 70
MRE00457 New Meter Reading is less than previous meter reading | 79 | 77 | 77 | 67 | 76 | 74 | 68
MRE01027 Reading breached the Upper Outer tolerance. | 73 | 60 | 80 | 69 | 69 | 79 | 74
MRE01029 Reading breached the upper Inner tolerance value and no override flag provided. | 68 | 70 | 79 | 61 | 68 | 74 | 70
CNF00011 Confirmation reference not found | 64 | 64 | 69 | 55 | 61 | 55 | 61
MRE00498 Meter Read Source invalid for the replacement of Opening Readings | 55 | 58 | 63 | 52 | 53 | 63 | 54
MRE01010 Reading is higher than a subsequent actual valid meter reading | 49 | 52 | 59 | 51 | 48 | 51 | 53
MRE00482 Meter point has no read to be replaced | 58 | 54 | 52 | 49 | 55 | 55 | 37
MRE00420 The meter read does not have the expected number of digits | 49 | 38 | 55 | 49 | 51 | 55 | 46
MRE00419 The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 45 | 49 | 56 | 45 | 43 | 59 | 44
Notes: MPRN data would be needed to provide advice on specific scenarios

## Slide 21: Conclusion
Between June 2017 and December 2017 62 million readings have been processed.
Class 1 Readings (Avg 87.5% Accepted):-
  Collective knowledge & understanding via the UIG issue management has increased significantly and it is clear to see that the position is improving with the majority of readings being accepted
Class 2 Readings (Avg 90% Accepted):-
  Whilst we only have limited numbers in this class the acceptance rate for readings is positive and is in line with expectations for this new class type

## Slide 22: Conclusion
Class 3 Readings (Avg 60% Accepted):-
  We are aware of unforeseen experiences but have learnt from the situation and are able to further support any Customers wishing to transfer into this class prior to them changing to ensure they have all the information necessary to make a smooth transition.
Class 4 Readings (Avg 82% Accepted):-
  Considering the number of sites within this sector the read acceptance rate is as expected. However there are a large number of readings still being rejected (including replacement reads) each month and we need to collectively look at reasons for rejection to improve this which in turn will assist downstream processes e.g.:- Rolling AQ

## Slide 23: Next Steps
For further information on the content of the presentation:-
Rachel Martin
rachel.martin@xoserve.com
0121 623 2458
Karen Marklew
karen.j.marklew@xoserve.com
0121 623 2860
For update on any agreed actions please contact your CAM