## Read Stats
Shipper Short Code | Class 2 Aggregate AQ as at 01/04/2018 | Number Of Class 2 SMP's for Apr 2018 | Number Of Class 2 Actual Reads Accepted for Read Dates between 01/04/2018 and 30/04/2018 | Percentage Accepted vs Required | Number Of Class 2 Actual Reads Accepted for Read Dates between 01/04/2018 and 30/04/2018 within D+1 | Percentage Accepted within D+1 vs Required | Number Of Rejected Reads for Class2 Sites Submitted for Read Dates between 01/04/2018 and 30/04/2018
829 | 1625098327 | 79 | 1177 | 49.66% | 960 | 40.51% | 1559
151 | 32970509 | 1 | 29 | 96.67% | 12 | 40% | 3
303 | 68756434 | 2 | 28 | 46.67% | 20 | 33.33% | 32
536 | 84760457 | 2 | 0 | 0% | 0 | 0% | 6
212 | 1222695747 | 66 | 364 | 18.38% | 106 | 5.354% | 877
132 | 714961914 | 26 | 157 | 20.13% | 153 | 19.62% | 326
373 | 315554167 | 17 | 178 | 34.9% | 106 | 20.78% | 546
333 | 3772198875 | 168 | 4573 | 90.73% | 3137 | 62.24% | 390
839 | 15760961 | 3 | 1 | 1.111% | 0 | 0% | 32
272 | 1953744126 | 91 | 1093 | 40.04% | 141 | 5.165% | 1229
920 | 100381678 | 9 | 77 | 28.52% | 0 | 0% | 259
343 | 2484096060 | 148 | 62 | 1.396% | 1 | 0.02252% | 3262
| 12390979255 | 612 | 7739 | 35.68% | 4636 | 18.92% | 8521

## Rejection Reasons
Shipper Short Code | Rejection Reason | Number of Rejections
829 | MPRN is not identified as class 1 site | 729
| New corrected reading is less than previous corrected reading | 265
| New Meter Reading is less than previous meter reading | 267
| New uncorrected reading is less than previous uncorrected reading | 7
| Reading Breached the lower Outer Tolerance | 295
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 1
| Reading Breached the upper Outer Tolerance | 18
Total |  | 1582
151 | Meter point has no read to be replaced | 1
| The convertor serial number on the read does not agree with the convertor serial number held on the Transporter Database | 1
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 1
Total |  | 3
303 | Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 1
| MPRN is not identified as class 1 site | 31
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 1
Total |  | 33
536 | MPRN is not identified as class 1 site | 6
Total |  | 6
212 | Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 242
| MPRN is not identified as class 1 site | 421
| Overide tolerance passed and override flag provided | 22
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 13
| Reading Breached the upper Outer Tolerance | 4
| The convertor corrected read does not have the expected number of digits | 8
| The convertor corrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 4
| The convertor round the clock count has not been supplied | 4
| The convertor serial number has not been supplied where there is a convertor is fitted | 4
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 242
Total |  | 964
132 | Meter point has no read to be replaced | 61
| MPRN is not identified as class 1 site | 221
| New corrected reading is less than previous corrected reading | 22
| New Meter Reading is less than previous meter reading | 12
| Overide tolerance passed and override flag provided | 1
| Reading Breached the lower Outer Tolerance | 22
| Reading Breached the upper Outer Tolerance | 13
Total |  | 352
373 | Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 51
| MPRN is not identified as class 1 site | 253
| New corrected reading is less than previous corrected reading | 1
| New Meter Reading is less than previous meter reading | 1
| Reading Breached the lower Outer Tolerance | 2
| Reading Breached the upper Outer Tolerance | 19
| Reading is higher than a subsequent actual valid meter reading | 2
| The converter corrected read has not been supplied where there is a converter fitted and the converter reads are usable | 23
| The convertor corrected read does not have the expected number of digits | 34
| The convertor corrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 22
| The convertor round the clock count has not been supplied | 22
| The convertor serial number has not been supplied where there is a convertor is fitted | 22
| The convertor uncorrected read does not have the expected number of digits | 34
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 51
| The meter read does not have the expected number of digits | 16
Total |  | 553
333 | Asset activity recorded for read date | 1
| Meter Read Reason invalid for a Gas Card read | 2
| Meter Serial number is for a previous meter | 4
| Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 19
| MPRN is not identified as class 1 site | 128
| MPRN received in an incorrect file based on its class on the read date | 2
| New corrected reading is less than previous corrected reading | 5
| New Meter Reading is less than previous meter reading | 17
| New uncorrected reading is less than previous uncorrected reading | 7
| Read date lies within a consumption adjusted period | 7
| Reading Breached the lower Outer Tolerance | 8
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 10
| Reading Breached the upper Outer Tolerance | 11
| Reading is higher than a subsequent actual valid meter reading | 1
| The convertor corrected read does not have the expected number of digits | 63
| The convertor serial number on the read does not agree with the convertor serial number held on the Transporter Database | 3
| The convertor uncorrected read does not have the expected number of digits | 44
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 19
| The Meter Point already has a read for this date | 9
| The meter read does not have the expected number of digits | 34
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 39
Total |  | 433
839 | MPRN is not identified as class 1 site | 33
Total |  | 33
272 | A convertor serial number has been supplied where no convertor is fitted | 6
| convertor corrected read has been supplied where no convertor is fitted | 6
| convertor Round the Clock Count should not be provided where a convertor is not fitted | 6
| convertor uncorrected read has been supplied where no convertor is fitted. | 6
| Meter does not exist | 6
| Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 6
| MPRN is not identified as class 1 site | 617
| New corrected reading is less than previous corrected reading | 3
| Read date lies within a consumption adjusted period | 20
| Reading Breached the lower Outer Tolerance | 4
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 11
| The convertor corrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 6
| The convertor round the clock count has not been supplied | 6
| The convertor serial number has not been supplied where there is a convertor is fitted | 6
| The convertor serial number on the read does not agree with the convertor serial number held on the Transporter Database | 113
| The convertor uncorrected read does not have the expected number of digits | 360
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 6
| The Meter Point already has a read for this date | 1
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 90
Total |  | 1279
920 |  | 1
| Meter, convertor corrected and uncorrected reads not provided where DRE not present. | 84
| MPRN is not identified as class 1 site | 74
| The converter corrected read has not been supplied where there is a converter fitted and the converter reads are usable | 1
| The convertor corrected read does not have the expected number of digits | 17
| The convertor uncorrected read has not been supplied where there is a convertor fitted and the convertor reads are usable | 84
Total |  | 261
343 | Meter point has no read to be replaced | 185
| MPRN is not identified as class 1 site | 3161
| New corrected reading is less than previous corrected reading | 7
| New Meter Reading is less than previous meter reading | 8
| Overide tolerance passed and override flag provided | 12
| Read date lies within a consumption adjusted period | 6
| Reading Breached the lower Outer Tolerance | 11
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 6
| Reading Breached the upper Outer Tolerance | 2
| The converter corrected read has not been supplied where there is a converter fitted and the converter reads are usable | 4
| The convertor corrected read does not have the expected number of digits | 3
| The convertor serial number on the read does not agree with the convertor serial number held on the Transporter Database | 11
| The convertor uncorrected read does not have the expected number of digits | 3
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 7
Total |  | 3426