## Meter Validations
Site Name | LDZ | Meter Type | Open Meter Error Report's | Last Validation End Date | Validation Start Date | Validation End Date | Started within 12 months of last? | Reconciliation Required? | Comments
Aylesbeare (MUA) | SW | Ultrasonic |  | 2019-02-22 | 2020-02-19 | 2020-02-25 | Yes | No
Aylesbeare (MUB) | SW | Ultrasonic |  | 2019-02-22 | 2020-02-19 | 2020-02-25 | Yes | No
Choakford (MRA) | SW | Turbine |  | 2019-03-14 | 2020-03-04 | 2020-03-30 | Yes | No
Choakford (MRB) | SW | Turbine |  | 2019-03-14 | 2020-03-04 | 2020-03-30 | Yes | No
Cirencester (MRA) | SW | Turbine |  | 2019-07-01 | 2020-06-19 | 2020-06-18 | Yes | No
Cirencester (MRB) | SW | Turbine |  | 2019-07-01 | 2020-06-19 | 2020-06-18 | Yes | No
Coffinswell (MRA) | SW | Turbine |  | 2019-06-25 | 2020-06-15 | 2020-09-14 | Yes | No
Coffinswell (MRB) | SW | Turbine |  | 2019-06-25 | 2020-06-15 | 2020-09-14 | Yes | No
Dowlais (MUA) | WS | Ultrasonic |  | 2019-08-01 | 2020-06-22 | 2020-06-24 | Yes | No
Dowlais (MUB) | WS | Ultrasonic |  | 2019-08-01 | 2020-06-22 | 2020-06-24 | Yes | No
Dyffryn Clydach (MRA) | WS | Ultrasonic |  | 2019-08-20 | 2020-07-06 | 2020-07-10 | Yes | No
Dyffryn Clydach (MRB) | WS | Ultrasonic |  | 2019-08-20 | 2020-07-06 | 2020-07-10 | Yes | No
Easton Grey (MUA) | SW | Ultrasonic |  | 2019-03-20 | 2020-03-10 | 2020-03-20 | Yes | No
Easton Grey (MUB) | SW | Ultrasonic |  | 2019-03-20 | 2020-03-10 | 2020-03-20 | Yes | No
Evesham (MRA) | SW | Turbine |  | 2019-04-12 | 2020-04-14 | 2020-04-24 | Overdue | No | Slight delay in starting validation due to scheduling constraints.
Evesham (MRB) | SW | Turbine |  | 2019-04-12 | 2020-04-14 | 2020-04-24 | Overdue | No | Slight delay in starting validation due to scheduling constraints.
Fiddington (MUA) | SW | Ultrasonic |  | 2019-10-28 | 2020-08-03 | 2020-08-26 | Yes | No
Fiddington (MUB) | SW | Ultrasonic |  | 2019-10-28 | 2020-08-03 | 2020-08-26 | Yes | No
Gilwern (MUA) | WS | Ultrasonic |  | 2019-05-14 | 2020-05-28 | 2020-06-01 | Overdue | No | Slight delay in starting validation due to scheduling constraints.
Gilwern (MUB) | WS | Ultrasonic |  | 2019-05-14 | 2020-05-28 | 2020-06-01 | Overdue | No | Slight delay in starting validation due to scheduling constraints.
Ilchester (MUA) | SW | Ultrasonic |  | 2019-05-31 | 2020-05-11 | 2020-05-27 | Yes | No
Ilchester (MUB) | SW | Ultrasonic |  | 2019-11-29 | 2020-05-11 | 2020-05-27 | Yes | No
Kenn (MRA) | SW | Turbine |  | 2019-08-02 | 2020-07-20 | 2020-09-23 | Yes | No
Kenn (MRB) | SW | Turbine |  | 2019-07-15 | 2020-07-20 | 2020-09-23 | Overdue | No | Slight delay in starting validation due to scheduling constraints.
Littleton Drew | SW | Turbine |  | 2019-07-16 | 2020-06-29 | 2020-07-08 | Yes | No
Maelor (MUA) | WN | Ultrasonic |  | 2019-10-03 | 2020-10-26 | 2020-10-26 | Overdue | No | Delay in starting validation due to construction works on site.
Maelor (MUB) | WN | Ultrasonic |  | 2019-10-04 | 2020-10-26 | 2020-10-26 | Overdue | No | Delay in starting validation due to construction works on site.
Pucklechurch (MRA) | SW | Turbine |  | 2019-10-29 | 2020-10-05 | 2020-10-13 | Yes | No
Pucklechurch (MRB) | SW | Turbine |  | 2019-10-29 | 2020-10-05 | 2020-10-13 | Yes | No
Ross (SW) (MRA) | SW | Turbine |  | 2019-06-06 | 2020-05-05 | 2020-05-15 | Yes | No
Ross (SW) (MRB) | SW | Turbine |  | 2019-06-06 | 2020-05-05 | 2020-05-15 | Yes | No
Seabank (MUA) | SW | Ultrasonic |  | 2019-09-20 | 2020-09-02 | 2020-09-17 | Yes | No
Seabank (MUB) | SW | Ultrasonic |  | 2019-09-20 | 2020-09-02 | 2020-09-17 | Yes | No

## RRP
LDZ | SW | WN | WS | Network Total
Total Energy (GWh) | 30622.5622 | 6832.8097 | 25956.5996 | 63411.9715
Abs Error (GWh) | 0 | 0 | 0 | 0
% Error | 0% | 0% | 0% | 0%