## Option 1
Option 1
Before calculating the unit charge rate for the site adjust the SOQ by a factor based on the Average SHQ/SOQ divided by the
site SHQ/SOQ ratio. The effect of this is to reduce the unit charge for sites which have a lower than average SHQ/SOQ ratio, and to
increase it for sites which have a higher than average SHQ/SOQ ratio. The adjusted unit charge is applied to the original SOQ to
calculate the daily charge.
SOQ - Pk day kWh | SHQ - Pk hour kWh | Site SHQ/SOQ Ratio | Average Ratio relative to site Ratio | Adjusted SOQ | Original unit rate | original daily charge | Adjusted unit rate | adjusted daily charge | % difference | LDZ Firm Charges
1000000 | 41666.6667 | 0.041667 | 2.7889 | 2788888.8889 | 0.050038 | 500.3828 | 0.041577 | 415.7742 | -16.91% | 0.6066
1000000 | 55555.5556 | 0.055556 | 2.0917 | 2091666.6667 | 0.050038 | 500.3828 | 0.043795 | 437.9469 | -12.48% | -0.1806
1000000 | 83333.3333 | 0.083333 | 1.3944 | 1394444.4444 | 0.050038 | 500.3828 | 0.047122 | 471.2198 | -5.828%
1000000 | 100000 | 0.1 | 1.162 | 1162037.037 | 0.050038 | 500.3828 | 0.048699 | 486.9941 | -2.676%
1000000 | 166666.6667 | 0.16667 | 0.69722 | 697222.2222 | 0.050038 | 500.3828 | 0.053406 | 534.0594 | 6.73%
1000000 | 250000 | 0.25 | 0.46481 | 464814.8148 | 0.050038 | 500.3828 | 0.057463 | 574.6344 | 14.84%
6000000 | 697222.2222 | 0.1162 | 1 | 6000000 | 0.036205 | 2172.2987 | 0.036205 | 2172.2987 | 0%
NOTE:
If an option which brought SHQs into the calculation of the transportation charges were to be adopted (not necessarily one of the 3 shown here)
there would presumably need to be a mechanism to provide a disincentive to exceeding the nominated SHQs.

## Option2
Option 2
Calculate the daily charge as normal based on the SOQ but then adjust a percentage of the charge by the site SHQ/SOQ ratio relative
to the Average SHQ/SOQ ratio. The effect of this will be to reduce the charge for sites which have a SHQ/SOQ ration below the average,
and to increase it for sites with a ration above average. The percentage of the charge which is varied would depend on further cost ananlysis.
SOQ - Pk day kWh | SHQ - Pk hour kWh | Site SHQ/SOQ Ratio | Site Ratio relative to Average Ratio | Adjustment Percentage | Adjustment Factor | original daily charge | adjusted daily charge | % difference | LDZ Firm Charges
1000000 | 41666.6667 | 0.041667 | 0.35857 | 25% | 0.83964 | 500 | 419.8207 | -16.04% | 0.6066
1000000 | 55555.5556 | 0.055556 | 0.47809 | 25% | 0.86952 | 500 | 434.761 | -13.05% | -0.1806
1000000 | 83333.3333 | 0.083333 | 0.71713 | 25% | 0.92928 | 500 | 464.6414 | -7.072%
1000000 | 100000 | 0.1 | 0.86056 | 25% | 0.96514 | 500 | 482.5697 | -3.486%
1000000 | 166666.6667 | 0.16667 | 1.4343 | 25% | 1.1086 | 500 | 554.2829 | 10.86%
1000000 | 250000 | 0.25 | 2.1514 | 25% | 1.2878 | 500 | 643.9243 | 28.78%
6000000 | 697222.2222 | 0.1162 | 1 | 25% | 1 | 2172 | 2172 | 0%

## Option 3
Option 3
Assume that the driver of cost is the SHQ not the SOQ, and for charging purposes derive a site SOQ by scaling up the
site SHQ by dividing it by the average SHQ/SOQ ratio. This is eqivalent to charging based on SHQs, but scaling up the
SHQs to be consistent with the current charging structure.
SOQ - Pk day kWh | SHQ - Pk hour kWh | Site SHQ/SOQ Ratio | SOQ based on average ratio | Charge based on original SOQ | Charge based on derived SOQ | % difference | LDZ Firm Charges
1000000 | 41666.6667 | 0.041667 | 358565.7371 | 500 | 215.8566 | -56.83% | 0.6066
1000000 | 55555.5556 | 0.055556 | 478087.6494 | 500 | 273.4661 | -45.31% | -0.1806
1000000 | 83333.3333 | 0.083333 | 717131.4741 | 500 | 380.7968 | -23.84%
1000000 | 100000 | 0.1 | 860557.7689 | 500 | 442.3267 | -11.53%
1000000 | 166666.6667 | 0.16667 | 1434262.9482 | 500 | 672.6693 | 34.53%
1000000 | 250000 | 0.25 | 2151394.4223 | 500 | 938.008 | 87.6%
6000000 | 697222.2222 | 0.1162 | 6000000 | 2172 | 2172 | 0%