## Read Stats
Shipper Short Code | Class 3 Aggregate AQ as at 01/02/2018 | Number Of Class 3 SMP's as at 01/02/2018 | Number Of Class 3 Accepted Reads Submitted between 01/02/2018 and 28/02/2018 | Number Of Class 3 Rejected Reads Submitted between 01/02/2018 and 28/02/2018 | Average number of reads
151 | 2103633 | 13 | 250 | 57 | 19.2308
242 | 43019500 | 1 | 25 | 26 | 25
536 | 711168 | 1 | 0 | 0 | 0
617 | 2285334 | 12 | 268 | 60 | 22.3333
212 | 2145742577 | 13638 | 6305 | 3431 | 0.46231
314 | 72478166 | 6 | 0 | 299 | 0
121 | 15573626 | 2 | 0 | 0 | 0
223 | 827866234 | 57417 | 307137 | 789322 | 5.3492
181 | 3124972 | 18 | 14 | 6 | 0.77778
526 | 806137 | 2 | 2 | 0 | 1
272 | 435053 | 2 | 4 | 0 | 2
920 | 912841858 | 6421 | 3601 | 2820 | 0.56082
Totals: | 4026988258 | 77533 | 317606 | 796021 | 4.0964

## Rejection Reasons
Shipper Short Code | Rejection Reason | Number Of Rejections
151 | Actual read can only be replaced by a replacement read. | 3
| Meter point has no read to be replaced | 1
| Reading breached the upper Inner tolerance value and no override flag provided. | 40
| Reading breached the Upper Outer tolerance. | 13
TOTAL: |  | 57
Shipper Short Code | Rejection Reason | Number Of Rejections
242 | Actual read can only be replaced by a replacement read. | 26
TOTAL: |  | 26
Shipper Short Code | Rejection Reason | Number Of Rejections
617 | Actual read can only be replaced by a replacement read. | 2
| New Meter Reading is less than previous meter reading | 1
| Reading breached the upper Inner tolerance value and no override flag provided. | 1
| Reading breached the Upper Outer tolerance. | 56
TOTAL: |  | 60
Shipper Short Code | Rejection Reason | Number Of Rejections
212 | Actual read can only be replaced by a replacement read. | 699
| Confirmation not owned by requesting System User | 3
| Meter, Convertor corrected and uncorrected reads not provided where DRE not present. | 3
| Meter not found for Meter Point | 2
| Meter Point status is not LI (Live) | 4
| New Meter Reading is less than previous meter reading | 19
| Non-opening reading received outside the read receipt window | 636
| nxt mtr rd less than current and TTZ incorrect | 1
| Reading Breached the lower Outer Tolerance | 1
| Reading breached the upper Inner tolerance value and no override flag provided. | 1853
| Reading breached the Upper Outer tolerance. | 204
| Reading Breached the upper Outer Tolerance | 2
| The convertor serial number on the read does not agree with the convertor serial number held on the Transporter Database | 1
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 3
TOTAL: |  | 3431
Shipper Short Code | Rejection Reason | Number Of Rejections
314 | Non-opening reading received outside the read receipt window | 299
TOTAL: |  | 299
Shipper Short Code | Rejection Reason | Number Of Rejections
223 | Actual read can only be replaced by a replacement read. | 929
| Asset activity recorded for read date | 2
| Confirmation not owned by requesting System User | 1
| MPRN received in an incorrect file based on its class on the read date | 20596
| Non-opening reading received outside the read receipt window | 76
| Reading breached the lower Outer tolerance. | 943
| Reading breached the upper Inner tolerance value and no override flag provided. | 764333
| Reading breached the Upper Outer tolerance. | 1666
| The meter read does not have the expected number of digits | 776
TOTAL: |  | 789322
Shipper Short Code | Rejection Reason | Number Of Rejections
181 | Actual read can only be replaced by a replacement read. | 2
| Non-opening reading received outside the read receipt window | 2
| Reading breached the upper Inner tolerance value and no override flag provided. | 2
TOTAL: |  | 6
Shipper Short Code | Rejection Reason | Number Of Rejections
920 | Actual read can only be replaced by a replacement read. | 766
| Asset activity recorded for read date | 1
| Confirmation not owned by requesting System User | 13
| Meter Point status is not LI (Live) | 2
| New Meter Reading is less than previous meter reading | 7
| Non-opening reading received outside the read receipt window | 474
| Reading Breached the upper Inner Tolerance value and no overide flag provided | 2
| Reading breached the upper Inner tolerance value and no override flag provided. | 1384
| Reading breached the Upper Outer tolerance. | 162
| The meter read does not have the expected number of digits | 3
| The meter serial number on the read does not agree with the meter serial number held on the Transporter Database | 6
TOTAL: |  | 2820